#### ATTACHMENT – TECHNICAL SPECIFICATION FORM

TENDER No. PROSOFT NO 91190371

Procurement of Automated Water Level Data Logger

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

This technical specification form has an integral part with the Bid Price Form for this tender.

Date: [Insert submission date]

Name of the Bidder: [Insert the company name]

Subject       [Insert the tender subject]                    , Inquiry  [tender no]    dated [insert date]

| No | Requirement Specification | Confirmation of Compliance to the Specification | Proposed Brand Type & Specification (please mention the detail specification) | Picture (as sample, not mandatory brand) |
| --- | --- | --- | --- | --- |
| 1 | Automated Water Level Data Logger Processor - IoT Platform with HMI LCD touchscreen features a resolution of 320x240 and measures 3.5 inches, industrial grade - Ultra-low power MCU (Based on Cortex M4) - Output digital sensor (RS485) main material ABS - Operates from 2.7-5.5V - Operational temperature 0°C to +85°C - Internal memory 16MB - External micro-SD data logger (up to 256 MB) - Weather-resistant (IP68) - Connection: GSM 2G, 4G, Bluetooth, Wifi - Global Navigation Satellite Support (GNSS): GPS, GLONASS, BeiDou/Compass, Galileo and QZSS, Realtime Time Clock (correction base on Network Time Protocol) - Adjustable data transmission interval: every 5 minutes, 10 minutes, 15 minutes, 30 minutes, 1 hour, 2 hours, and so on. Hardware - GSM Antenna - 12dBi Dual Polarity Omni Antenna - Frequency Range 5100 – 5850MHz - 2*RP-SMA Connector - Transmit range up 1 KM with B6 - Extend Cable Antenna GSM 6 meter. - GPS Antenna - Centre frequency: 1575.42/1602MHz - Gain: 28+-2dB - Cable: RG174 - Supply voltage: 3~5V DC. - Enclosure and Protective Guard - ABS/Fiber Panel Box - Safety Cage - Lightning Protection Device - Genuine brass Splitzen spear 1 inch 30 cm. - Thread 1 inch - BC cable 10 meters - Ground rod copper bonded. - Size: 5/8" x 1.5 meters - Material: mild steel coated with copper - 1 piece of iron pipe 60 cm - 2 brass rings - Power Supply Unit Solar Panel System 50WP, Battery, Mppt, Converter, stainless steel 340 solar panel bracket) Including: - Battery Backup Min 18 Ah - Additional and Supporting Devices (Solar Panel Bracket and Antenna) - Rainfall Sensor - Tipping Bucket Stainless steel - Measuring rain range intensity 4mm/min - Resolution 0,2mm - Operating temperature range 0 - 80 °C - Accessories: Bird spikes, air bubbles attached to, the base, water pass - Cable length 5m - Water Level Submersible Sensor - Max Range 10m, - PE Cable 15 Meter - Imported GE pressure cell, 0.5%F.S. - 316L stainless steel diaphragm welded 316SS body. - ±0,5%accuracy - Custom level ranges max 500m - IP68 full sealed plastic waterproof design - 3 in 1 Soil Sensor (Soil Temperature, Soil Moisture, Soil Electrical Conductivity/EC) - Temperature Measurement Range: -40~80°C, Resolution:0.1°C, Accuracy: ±0.5°C - Measurement Technique Moisture by FDR and EC by AC excitation - IP Ratings: IP68 - Operating Temperature: -40~85°C - Sensor Rod: Stainless steel - Sensor Sealed: Epoxy resin. - Installation: Surface or buried installation - Supporting Devices - Installation materials (Wiring, Conduit, Bracket for Sensors, etc) - Galvanized Tripod Pole, maximum height 1.8 m, diameter 1.5 inch Original Warranty |  | Note: The Bidder is not allowed to quote more than one item (options) with different price for one kind of item requested. The vendors who do not comply will be ruled out from the tender evaluation Catatan: Peserta tender tidak diijinkan untuk memberikan penawaran lebih dari satu jenis (pilihan) dengan harga yang berbeda untuk setiap item yang diminta. Vendor yang tidak mematuhi hal di atas, tidak akan diikut sertakan dalam evaluasi. Remarks: The specification proposed shall be clear, details (brand, type, details specs) and not ambiguous. This is very important part for the evaluation process | Data Logger (example) Assembled device as reference |

| TERMS AND CONDITIONS: |  | Please tick “Yes” or ”No” |  | Deviations |
| --- | --- | --- | --- | --- |
| 1 | The contractor shall deliver the goods within 30 days after signing the Purchase order (date) in the delivery address as mentioned above Delivery Address: GIZ ProMangrovePeat d/a Dinas Kehutanan Provinsi Kalimantan Timur Jl. Kesuma Bangsa, Sungai Pinang Luar, Kec. Samarinda Ulu, Kota Samarinda Kalimantan Timur, 75124 | ☐ Yes ☐ No |  |  |
| 2 | Validity of Quotation is 30 calendar days |  YES |  |  NO |
| 3 | Payment terms 30 days of receipt of the Supplier's invoice and delivery receipt of the goods specified in the Purchase Order |  YES |  NO |  |
| 4 | All prices/rates quoted must be exclusive of all taxes, since the GIZ, including its subsidiary organs, is exempt from taxes according to the PMK No. 215/PMK 03/2008 and KMK No. 17/KMK 010/Year 2021. GIZ shall process the VAT with tax exemption to BADORA. The process of tax exemption will take 2 - 3 months. |  YES |  NO |  |
| 5 | The quality inspection shall be conducted when the goods delivered. Any defects shall be remedied by the Supplier without any delay |  YES |  NO |  |
| 6 | The Supplier should be responsible for the packing |  YES |  NO |  |

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this quotation and bind [insert full name of bidder] should GIZ accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature and company stamp: _____________________________________________________________