## COVER PAGE
PROPOSED WASH FACILITIES FOR FEMALE TRADERS – AGBOGBLOSHIE MARKET FOR GIZ, GREATER ACCRA REGION
BILL OF QUANTITIES
Prepared by: | Client:
ADF ENGINEERING LIMITED | GIZ
+233 243 683718
Date: October, 2025

## WASH FACILITY
Item | Description | Qty | Unit | Rate | Amount GHS
GIZ WASH FACILITY
Excavating and filling
Excavating
A | Excavate trench for foundation not exceeding 1.50m deep commencing at formation level. | 9 | m³ |  | 0
B | Excavate pits (7nr) for column bases ditto | 14 | m³ |  | 0
C | Remove surplus excavated material from site | 19 | m³ |  | 0
Filling
Approved imported laterite filling as described.
D | Filling to make up levels average thickness not exceeding 250mm obtained off site in 225mm layers | 19 | m³ |  | 0
E | Filling to excavations average thickness not exceeding 250mm with material arising from the excavations. | 9 | m³ |  | 0
Surface treatment
F | Compacting filling to makeup levels | 31 | m² |  | 0
IN SITU CONCRETE/LARGE PRECAST CONCRETE
Plain in situ concrete (C15) as described
G | 50mm Bed (blinding) | 1 | m³ |  | 0
Plain in situ concrete (C25) as described
H | Foundations | 2 | m³ |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
Reinforced in situ concrete
Vibrated concrete(C25) as described
A | Column bases | 2 | m³ |  | 0
B | Ground beams | 1 | m³ |  | 0
C | Beds, thickness not exceeding 150mm | 5 | m³ |  | 0
D | Columns | 2 | m³ |  | 0
E | Beams and Lintels | 2 | m³ |  | 0
F | Slabs | 2 | m³ |  | 0
Formwork for in situ concrete
Sawn formwork to:
G | Sides Ground beams | 18 | m² |  | 0
H | Sides beds | 23 | m |  | 0
J | Isolated columns (7nr) | 32 | m² |  | 0
K | Beams and Lintels | 35 | m² |  | 0
L | Slabs | 10 | m² |  | 0
Reinforcement for in situ concrete
High yeild steel bars as described
Straight or Bent
M | 16mm diameter in column bases | 0.12 | t |  | 0
N | 16mm diameter in columns and beams | 0.35 | t |  | 0
P | 12mm diameter in ground beams and lintels | 0.29 | t |  | 0
Q | 12mm diameter in slabs | 0.14 | t |  | 0
Links
R | 10mm diameter in stirrups | 0.34 | t |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
MASONRY
Brick/Block walling
Solid sandcrete blockwork in cement and Sand (1:3) mortar as described in
A | 150mm walls in foundation | 35 | m² |  | 0
B | 150mm walls in superstructure | 143 | m² |  | 0
STRUCTURAL/CARCASSING METAL/TIMBER
Carpentry/Timber Framing/First Fixing
Sawn treated hardwood
Roof Members
C | 50 x 100mm Wall Plates | 17 | m |  | 0
D | 50 x 100mm Purlins | 61 | m |  | 0
E | 50 x 150mm Rafters | 43 | m |  | 0
F | 25 x 300mm Ridge board | 6 | m |  | 0
G | 50 x 50mm Ceiling noggings and joists | 115 | m |  | 0
H | 50 x 100mm Braces | 17 | m |  | 0
J | 50 x 150mm Binders | 29 | m |  | 0
K | 25 x 300mm Fascia board; width not exceeding 300mm | 25 | m |  | 0
CLADDING/COVERING
Metal Profiled Sheet Clladding/Covering/Siding
L | AluZinc corrugated long span roofing sheet; 0.5mm guage, fixed to timber purlins at 900mm centres (measured seperately) with drive screws and washers in accordance with the manufacturer's instructions. | 35 | m² |  | 0
M | 6mm half round aluminium ridge cap | 6 | m |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
LININGS/SHEATHING/DRY PARTITIONING
A | Linings, ''Gyproc'' or aproved equal 6.4mm thick Plasterboard ceiling fixed on 6.5mm thick studs and tracks and join and skim edges with skimming and jointing Compounds. | 38 | m² |  | 0
WINDOWS/DOORS/STAIRS
Windows/Rooflights/Screens/Louvres
Glazed aluminium sliding windows, with 50mm thick frames, 8mm plain single glass including all necessary locking devices and fly-proof netting
B | Size 600 X 1500mm, 2 bay | 2 | nr |  | 0
C | Size 600 x 650mm, 2 bay | 6 | nr |  | 0
Doors/Shutters/Hatches
44mm thick wrot hardwood panel doors mounted in timber subframe
D | Ditto, size 900 x 2100mm | 2 | No. |  | 0
E | Ditto, size 750 x 2100mm | 6 | No. |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
SURFACE FINISHES
Cement: Sand/Concrete screeds/toppings
Cement and sand (1:3) as described
A | Walls, width exceeding 300mm; 13mm floated screed backing to receive wall tiles. | 110 | m² |  | 0
B | Floors, level and to falls only not exceeding 15° from the horizontal; 25mm floated screed bed to receive floor tiles | 31 | m² |  | 0
Plastered/ Rendered/ Roughcast coatings
20mm Cement and sand (1:4) rendering as described to
C | Walls, width exceeding 300mm | 210 | m² |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
Stone/ Concrete/ Quarry/ Ceramic tiling / Mosaic
Approved ceramic wall tiles 8mm x 250 x 450mm; symmetrical layout, bedded and jointed in cement and sand (1:3) screeded wall and neatly pointed with approved sealant (measured seperately)
A | Walls, width exceeding 300mm | 110 | m² |  | 0
Floor
Approved Polished Porcelain tiles 450 x 450 x 10mm bedded and jointed in cement and sand (1:3) screeded bed and neatly pointed with approved sealant (measured seperately)
B | Floors, level or to falls only not exceeding 15° from the horizontal | 31 | m² |  | 0
C | Skirting, height 100mm | 23 | m |  | 0
Painting/ Clear Finishings
Prepare; prime with ''Coral wall preparing primer'', apply one (1) coat of Undercoat and apply two (2) coats of ''Coral'' graffiato textured paint with matt finish or approved equal
D | Rendered external walls with girth exceeding 300mm | 210 | m² |  | 0
E | Cealings with girth exceeding 300mm | 38 | m² |  | 0
BUILDING FABRIC SUNDRIES
Ironmongery
Supply and fix the following ironmongery with and including matching screws
F | Pair 100mm Brass butt hinges | 8 | No. |  | 0
G | Mortice lock with set of lever handle furniture | 8 | No. |  | 0
GIZ WASH FACILITY
| Carried to Collection |  |  |  | 0
Collection
| 1 |  |  |  | 0
| 2 |  |  |  | 0
| 3 |  |  |  | 0
| 4 |  |  |  | 0
| 5 |  |  |  | 0
| 6 |  |  |  | 0
GIZ WASH FACILITY
| Carrried to External Works Summary |  |  |  | 0
ELECTRICAL WORKS (ALL PROVISIONAL)
Description of the installation
The works comprise the complete new electrical mains installation to the proposed Residence. They are brought from the distribution board located at the ground floor closet. The installations comprise both lighting and power. The wiring system consists of 600/1000 volt grade pvc insulted & colour coded copper cables drawn into rigid PVC conduits.
Regulations, rules & byelaws
The work shall be carried out in accordance with the IEE Regulations for the Electrical equiptment of buildings & the rules of ECG
Main Supply
| The 240V, 50Hz main supply is taken from the overhead 3 phase mains situated at the front of the building. |  |  | 0 | 0
| Connection to mains |  |  | 0 | 0
A | Allow the provisional sum of GHS……………… for connecting 3 phase 240V, 50Hz power to the building, including provision of 32mmº single core PVC insulatd 600/1000V cables & cut off by the ECG.
Mains Installation
B | Conduit straight, 32mm diameter PVC fixed to surfaces of timber and masonry | 40 | m |  | 0
C | Cable 4x16mm² PVC Copper Cable | 40 | m |  | 0
D | 125A TPN Service Isolator | 1 | Nr |  | 0
E | 125A TPN Change Over Switch | 1 | Nr |  | 0
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Distribution board
| Distribution board surface type metal clad m.c.b. consumer unit main switch, pluged & screwed to masonry. |  |  |  | 0
A | 4 way 100A TPN DB Complete with TP MCB | 1 | Nr |  | 0
| Power Installation |  |  |  | 0
final circuits
| Cable & conduit in final ring main circuit, concealed. Installation, consisting of 2.5mm² PVC insullated colour coded copper cable drawn into rigid 12mmØ PVC conduit embedded in masonry and screed |  |  |  | 0
B | 13 amp double switched socket outlet | 2 | Nr |  | 0
C | 15 amp switched socket outlet | 2 | Nr |  | 0
Power Installation Accessories
D | Socket outlet, 15A, 3 pin shuttered flush white plastic pattern Single switched; steel Knock out box; pluged & screwed to masonry | 2 | Nr |  | 0
0
E | Ditto double. switched., I3A do. | 2 | Nr |  | 0
Sundries
Marking position.
F | Marking the position of holes, mortise & chases, in the structure for power installation.
Testing
G | Testing & commisioning the power installation as described In the specification.
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Lighting Installation.
Final ciruits
Cable & conduit in final ring main circuit, concealed Installation., consisting of 1.5mm² PVC insulated colour coded copper cable drawn into rigid 12mmØ PVC conduit, embedded in masonry & fixed. to timber. with clips.
A | Lighting outlets | 14 | Nr |  | 0
B | One gang one way switches | 2 | Nr |  | 0
C | Two gangs one way switches | 2 | Nr |  | 0
Luminaires and Lamps
D | 1200mm Fluorescent Light | 4 | Nr |  | 0
E | 9W led spotlight | 6 | Nr |  | 0
F | Wall mounted light | 4 | Nr |  | 0
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Lighting Installation Accessories
A | Lighting switch, one gang one way,5A; single pole silent action; flush ivory plastic plate & steel. knock out box; pluged & screwed to masonry | 2 | Nr |  | 0
B | Ditto, One gang two way | 2 | Nr |  | 0
C | Ditto, Two gangs one way | 2 | Nr |  | 0
| Sundries for Lighting Installation |  |  |  | 0
Marking position
D | Marking the position of holes, mortise & chases, in the structure for lighting installation.
Testing
E | Testing & commisioning the lighting installation as described in the specification.
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
EARTHING PROTECTION SYSTEM
Supply and install the following earthing system
A | 900mm x 900mm high conductivity anealed copper latticed mat as earth termination | 1 | Nr |  | 0
B | 16mm2 Diameter, 2400mm long copper bonded earth electrode cad welded to four corners of earth mat | 4 | Nr |  | 0
C | Earth Bar | 1 | Nr |  | 0
D | 1 Core 25mm2 Pvc insulated copper cable (Green/Yellow) | 30 | m |  | 0
LIGHTNING PROTECTION SYSTEM
Supply and install the following Lighting protection equipment
E | 25mm x 3mm copper belt as vertical and horizontal conductor fixed to the surface of wall in clips (m/s) | 25 | m |  | 0
F | Clips for securing tape c/w screws | 25 | Nr |  | 0
G | 15mm Ø x 1.2m long copper elevation rod c/w multiple point and flat saddle base | 1 | Nr |  | 0
H | 25mm screw down test clamp | 1 | Nr |  | 0
J | Copper earth mat | 1 | Nr |  | 0
K | Excavation at accessories for lighting protection system
Testing
L | Testing & commisioning the whole of the lightning protectn instlallation with IEE rules & regulations.
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Collection
| 8 |  |  |  | 0
| 9 |  |  |  | 0
| 10 |  |  |  | 0
| 11 |  |  |  | 0
| 12 |  |  |  | 0
ELECTRICAL WORKS
| Carried to Superstructure Summary |  |  |  | 0
PLUMBING WORKS (ALL PROVISIONAL)
Connection to mains
A | Allow the provisional sum of GHS …………... for connecting to mains in road and bringing 18mm PVC service up to the boundry of site including provision of stop valve and box by GWCL
COLD WATER SERVICE
B | 32mm diameter PVC piping (Class "D") | 120 | m |  | 0
C | Extra for 90° bend | 3 | Nr |  | 0
D | 32 x 32 x 32mm diameter Equal tee | 3 | Nr |  | 0
E | 32 x 32 x 19mm diameter Reducer tee | 5 | Nr |  | 0
F | 32 x 19mm diameter Reducer | 2 | Nr |  | 0
G | Gate Valve with valve socket, 32mm diameter | 2 | Nr |  | 0
Pipes straight, nominal PVC Class E, with solvent joint in trenches
H | 19mm diameter | 200 | m |  | 0
Extra over upvc pipes
J | 19mm diameter 90 Degree Bend | 26 | Nr |  | 0
K | 19mm diameter Control valve | 13 | Nr |  | 0
L | 19mm diameter Valve socket | 13 | Nr |  | 0
M | 19mm diameter Equal tee | 10 | Nr |  | 0
N | 19mm x 12mm Female Threaded Elbow | 16 | Nr |  | 0
P | 15mm diameter Chrome Angle Valve | 8 | Nr |  | 0
Q | 15mm diameter Flexible Tubes | 13 | Nr |  | 0
COLD WATER SERVICE
| Carried to Collection |  |  |  | 0
| Brought Forward |  |  |  | 0
Cold water storage
Polyethylene water tank with protection against UV Water tank to be complete with all the accessories, fittings valves and the raised support secured and fixed to the supporting base at the end of the main water distribution pipe including the access cover
A | Polyethylene water tank 5000l capacity | 1 | Nr |  | 0
Waste pipes
B | Trap, nominal size 32mm diameter | 4 | Nr |  | 0
C | Trap, nominal size 38mm diameter | 4 | Nr |  | 0
Sundries
D | Excavate trenches for services average size ≤ 200mm, average depth 500-700mm | 80 | m |  | 0
Marking position
E | Marking the position of holes, mortise & chases, in the structure for cold water supply and foul drainage above ground level services
Testing
F | Allow for air testing & commisioning the cold water supply and foul drainage above ground services
PUMPS
G | 2.0HP Booster pump | 1 | Nr |  | 0
COLD WATER SERVICE
| Carried to Collection |  |  |  | 0
Sanitary appliances
Sanitary appliances/fittings
A | Low-level close-coupled wash down coloured WC suite comprising vitreous china ' P' trap WC and cistern with seat and lid, fixed to concrete floor and masonry wall | 3 | Nr |  | 0
B | Lavatory basins 600 x 450 mm comprising vitreous china basin and pedestal, CP plug and chain waste and CP sheerline taps, fixed to masonry wall | 2 | Nr |  | 0
C | Overhead Shower | 3 | Nr |  | 0
0
F | Floor drain/Shower Outlet 100 x 100mm | 10 | Nr |  | 0
H | Hand Towel Holder | 3 | Nr |  | 0
J | Soap Dish | 5 | Nr |  | 0
K | Toilet Roll Holder | 3 | Nr |  | 0
L | Toilet Brush | 3 | Nr |  | 0
M | Mirror round | 2 | Nr |  | 0
SANITARY APPLIANCES
| Carried to Collection |  |  |  | 0
DISPOSAL SYSTEMS
Rainwater Pipework/Gutters
Pipes straight, nominal PVC Class B, with solvent joint in trenches
A | 80mm diameter rain water pipe | 36 | m |  | 0
B | 80mm x 90O elbow | 6 | Nr |  | 0
Foul Drainage Above Ground
Pipes straight, nominal PVC Class B, with solvent joint
C | 100mm diameter | 120 | m |  | 0
D | 50mm diameter | 120 | m |  | 0
Extra over upvc pipes
E | 100mm 90° bend | 6 | Nr |  | 0
F | 50mm 90° bend | 6 | Nr |  | 0
G | 100mm Tee | 6 | Nr |  | 0
H | 50mm Tee | 6 | Nr |  | 0
Drainage Below Ground
J | Excavate trenches for services average size ≤ 200mm, average depth 500-700mm | 100 | m |  | 0
Pipes straight, nominal PVC Class B, with solvent joint in trenches
K | 100mm diameter | 70 | m |  | 0
L | 50mm diameter | 30 | m |  | 0
M | 90 degree elbow
N | 100mm diameter | 5 | Nr |  | 0
P | 50mm diameter | 5 | Nr |  | 0
DISPOSAL SYSTEMS
| Carried to Collection |  |  |  | 0
BIO-DIGESTER
BIO-DIGESTER
A | Supply and installation of a complete biodigester toilet system, designed to treat human waste through anaerobic digestion, producing biogas and nutrient-rich effluent. The system shall include a biodigester tank, inlet and outlet pipes, gas outlet, effluent outlet, ventilation system, and access manhole. All components to be installed in accordance with manufacturer's specifications and industry standards. | 1 | Nr |  | 0
Inspection Chamber
L | Inspection Chamber, size 600 mm x 600 mm | 7 | Nr |  | 0
SEPTIC TANK
| Carried to Collection |  |  |  | 0
Collection
| COLD WATER SERVICE |  |  |  | 0
| SANITARY APPLIANCES |  |  |  | 0
| DISPOSAL SYSTEMS |  |  |  | 0
| BIO-DIGESTER |  |  |  | 0
PLUMBING & HEATING
| Carried to Superstructure Summary |  |  |  | 0
EXTERNAL WORKS SUMMARY
Carried to Summary
Collection
| WASHROOMS |  |  |  | 0
| ELECTRICAL WORKS |  |  |  | 0
| PLUMBING & HEATING |  |  |  | 0
GIZ WASH FACILITY SUMMARY
| Carrried to General Summary |  |  | GHS | 0

## MAIN SUMMARY
Item | Description | Qty | Unit | Rate | Amount GHS
GENERAL SUMMARY
| BILL NO.1 PRELIMINARIES |  | 5% |  | 0
| WASH FACILITY |  |  |  | 0
| Sub Total 1 |  |  |  | 0
| ADD CONTINGENCY RESERVE |  | 5% |  | 0
| TOTAL ESTIMATED COST |  |  | GHS | 0