## GENERAL SUMMARY
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT
GENERAL SUMMARY
| BILL NO 1: PRELIMINARIES |  |  |  | 0
| BILL NO 2: SUBSTRUCTURE |  |  |  | 0
| BILL NO.3: GROUND FLOOR |  |  |  | 0
| BILL NO.4: FIRST FLOOR |  |  |  | 0
| BILL NO.5: ELECTRICALS |  | MAIN WORKS |  | 0
| BILL NO.6: PLUMBING |  |  |  | 0
| BILL NO.7: MECHANICAL |  |  |  | 0
| BILL NO.8: FIRE FIGHTING |  |  |  | 0
| BILL NO.9: SOLAR SYSTEM |  |  |  | 0
| BILL NO.10: EXTERNAL PAVING & GRASSING |  |  |  | 0
| BILL NO.11: FENCE WALL |  |  |  | 0
SUB TOTAL
0
| ADD CONTINGENCY (10%) |  |  |  | 0
| TOTAL - CARRIED TO FORM OF TENDER |  |  |  | 0
| TOTAL COST ESTIMATE (EXCLUDING TAX AND LEVIES) |  |  |  | 0

## PRELIMINARIES
BILL NO.1- PRELIMINARIES BILL AND GENERAL CONDITIONS
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT(GHC)
A | Generally
The contractor shall be deemed to have allowed against each item a rate which complies with all the requirements of the “Preliminaries”. All unpriced preliminaries items shall be deemed to have been included in the general pricing of the works. All item containing “Preliminaries” shall apply to the whole of the works The contractor shall be deemed to have allowed against each item or in his rates of complying with all the requirements of the “Preliminaries”. All item containing “Preliminaries” shall apply to the whole of the works
B | Names of Parties The names of parties referred to in these Bills of Quantities and in the Conditions of Contract are as follows:- Employer: MINISTRY OF EMPLOYMENT AND LABOUR RELATIONS/ GJSPROJECTS Engineer:- MICHAEL AMOAH
C | Format of Bills of Quantities
Major portions of this Bills of Quantities have been prepared in accordance with the "Standard Method of Measurement of Building Works",Seventh (7th) Edition (metric) Revised SMM7R (metric) dated July 1998 issued by the Royal Institution of Chartered Surveyors (R.I.C.S.) and the building Employers Confederation (B.E.C.) both of the United Kingdom. However, departures from this method of measurement (see General Notes on Method of Measurement) have been effected to reduce the number of measured Labour items and also to simplify certain other measured items. The Contractor must allow for this departures in his/her pricing so that his/her tender figure shall represent the total cost of all items of works involved in the project. No claim for extra payment will be entertained on the ground that method of the measurement adopted does not comply with the said Standard Method of Measurement.
D | Prohibition of Use
The quantities given in the Bills of Quantities are not intended for ordering of materials/components. Quantities for use in ordering materials/components must be calculated by the Contractor by measurement on site or from contract drawings.
E | Site Location The Site is located at: Worawora in the Oti Accra Region The Contractor is to visit and examine the site and satisfy himself as to the site conditions and facilities for obtaining special materials and shall obtain generally his own information on all matters affecting the execution of the Works.
F | Overtime
The Contractor shall be held to have made all enquiries as to the source of his labour and to have made all provisions in his tender for every cost to him of providing and maintaining the labour force necessary to complete the contract including all extra and additional works in the contract Time, including all overtime and weekend working which he considers he shall require and supervisory cost associated therewith. No extra will be allowed on the contract Sum for this Clause.
TO COLLECTION
A | Definition of Abbreviations
Abbreviations have been used in the Bills of Quantities for the units of measurement and the Contractor should take due notice of the under-mentioned:
m3/ m3/cu. m. - Cubic Metre
m2/ m2/sq. m. - Square Metre
lm - Linear Metre
mm - Millimetre
kg - Kilogramme
T/ton - Tonne
No./Nr. - Number
B | Alterations to the Bills of Quantities
No alterations or qualifications of any kind whatsoever shall be made by the Contractor to the text of the Bills of Quantities unless authorised or directed in writing by the Enginner or Quantity Surveyor. If any unauthorised alteration or qualification is made by the Contractor, it will be ignored and the text prepared text will be rigidly adhered to.
C | Preamble References
To avoid long descriptions and repetitions, certain description of measured items contain only brief details of materials and/or workmanship and reference to a preamble clause. Whether specifically referred to or not, items in the preambles section in these Bills of Quantities are deemed to qualify and be part of every description of measured work to which they refer and shall be deemed to have been taken into consideration in pricing the whole of these Bills of Quantities.
D | Priced Bills of Quantities
Should there be a difference between a Contractor's Tender Sum and the arithmetically corrected Tender Figure of the "measured works" (after a complete technical and arithmetical check) an adjustment will be made to the rates by agreement. Conversely, a percentage adjustment shall be calculated by using the total amount of the errors in relation to the value of the "measured works" and thus leaving the original Tender Sum unaltered. Variations to the "measured works" in both approaches shall be subject to the same rate amendments or percentage adjustments respectively.
E | Provisional Sum
The Provisional Sum in these Bills of Quantities are used solely to indicate a gross amount inclusive of Contractor's profit and all other elements of loss. These sums will be expended or deducted in whole or in part as required by the Engineer and no claim for loss of profit will be entertained in this respect. The Contractor must not order expenditure against any work covered by Provisional Sums unless receipt of order in writing from the Engineer.
F | Prime Cost (PC) Sums
Prime Cost (PC) Sums included in these Bills of Quantities are for goods to be supplied by a Supplier or work to be executed by a Contractor both to be nominated by the Engineer, P.C. Sums shall be understood to mean the NET amount expended in favour of such persons after deducting all discounts and shall include all taxes (where applicable) and the cost of packing, carriage/freight and delivery as specified. All such PC Sums are at the complete disposal of the Engineer who may direct how they are expended, deducted in whole or in part from the Contract Sum.
Following a PC Sum, provision has been made for the Contractor to insert an element of profit and attendance. The Contractor shall express the element of profit as a percentage of the PC Sum and that of attendance as a lump sum.
TO COLLECTION
A | Price Adjustment
There shall be no adjustment for fluctuations
B | Description of the Works
The works shall comprise the constructionf the following facilities including external services and works. Included in this document are the following:
PRELIMINARIES AND GENERAL CONDITIONS
CONCRETE WORKS
MASONRY
STURCTURAL / CARCASING METAL / TIMBER
CLADDING/COVERING
LININGS/SHEATHING/DRY PARTITIONING
WINDOWS/DOORS/STAIRS
SURFACE FINISHES
FURNITURE/EQUIPMENT
ELECTRICAL/FIRE
PLUMBING INSTALLATION
VENTILATION /AIR CONDITIONING SYSTEMS
EXTERNAL WORKS
B | Assistance to Consultant, Etc.
Allow a sum for providing all reasonable information, labour and facilities required by the Supervising Consultant (Resident Clerk of works, Engineer, Architect, Etc) in carrying out their duties in connection with this contract per specification.
TO COLLECTION
A. | Performance Guarantee
The Contractor shall be required within twenty eight (28) days of receiving the acceptance letter to enter into a written, signed and witnessed guarantee to guarantee the due performance of the works in the sum of ten percent (10%) of the total amount of the contract for performance guarantee .
The acceptance of a Performance Guarantee obtained by the Contractor with a Bank Company shall be at the sole discretion of the Employer. The guarantee will remain in force until such time as the Contractor has made good the defects notified to him/her by the Engineer in accordance with the Conditions of Contract.
It shall be deemed that the Contractor has made due allowance in his/her tender for the cost of obtaining the guarantee to collection the guarantee.
B | Advance Payment Guarantee
Should any advance be given, the Contractor shall provide as a condition precedent, an acceptable advance guarantee from a Bank covering the amount of the advance until its repayment in full.
C | Direct Payments
The Direct Payment are for works, materials/components to be provided either by the Employer or by persons directly contracted to/or directly engaged by him/her. The sums will not be paid to or through the Contractor. They will be deducted in full from the contract sum as and when the works and materials/components are delivered.
D | Setting Out the Works
At commencement of the contract and during progress of the works, the Contractor shall set out the whole of the works in accordance with the drawings and in conjunction with levels and measurements taken on the site and shall be responsible for the accuracy thereof, and if inaccurate, for making alterations as required by the Engineer.
The Contractor shall perform all setting out by a method to be approved by the Engineer and provide all instruments, templates, rods and setting out boards etc. as may be necessary for this purpose and where required maintain these for reference during the progress of the works.
The Contractor shall protect and preserve all bench marks, site rails, pegs and other items used for setting out the works.
E | Existing Materials on Site
Sand, gravel, vegetable soil, turf and other materials obtained from the site shall remain the property of the Employer until removed from the site in accordance with the contract. Excavations shall not be made or enlarged for the purpose of obtaining such materials. These materials shall not be used for any purpose other than for the execution of the works.
F | Maintenance of Services
The Contractor shall protect, uphold, temporarily direct and maintain all pipes, ducts, drains, sewers, service mains, overhead cables and the like during the execution of the works. The Contractor shall make good damage to any cause within its control at its own expense or pay any costs and charges in connection therewith. Approval shall be obtained at least two (2) weeks in advance if any services have to be interrupted.
TO COLLECTION
A | Temporary Accommodation for the Employer
The Contractor shall provide and erect suitable offices of not less than fourteen (14) square metres in floor area for the exclusive use of the Consultants consisting of two (2) separate rooms complete with plan chest, tables and chairs, other furniture and equipment including the supply of electricity.
The Contractor shall provide and maintain temporary sanitary accommodation and facilities for the exclusive use of the Consultant. After, shift and adapt from time to time as necessary and clear away on completion.
B | Semi-Permanent Name/Project Display Board
The Contractor shall provide a steel framed and steel sheet notice board at the entrance of the site bearing the names of the Project, Contractor, Consultant, Start Date and Completion Date. The size, design and colour of the notice board shall be subject to the approval of the Engineer.
C | Advertising Right
The Contractor shall not display any other notice or advertisement in any form on any part of the site, works, hoardings or adjoining ground without the prior approval in writing of the Engineer.
D | Records of Temperature, Visitors, etc
The Contractor shall keep accurate records of the temperature, visitors and any other occurrences affecting the progress of quality of the works.
E | Transport for work people
Allow for all costs in connection with the provision of transport for work people.
F | Telephone for the Employer
The Contractor shall provide and maintain an independent telephone service to the Employer representative's temporary site office for the full period of the works and pay all connection charges and expenses. (Special communication garget dues to the perculairity of site conditions)
The cost of telephone calls made on behalf of the Employer from the telephone is given as a Provisional Sum elsewhere.
G | Confirmation of Verbal Instructions
The Contractor shall keep on site at all times a record of all verbal instructions and shall send copies to the Consultants within seven (7) days of these being given.
H | Surveying Equipments
The Contractor shall provide and keep on the works a level tripod and staff for the sole use of the Clerk of Works and other artisans employed directly by the Employer. The instrument shall be maintained in proper adjustment by the Contractor who shall also provide all necessary attendance.
J | Geodetic Survey
Allow a provisional Sum of GHC 15,000.00 for soil test and investigations by the Consultant.
TO COLLECTION
NOMINATED SUB-CONTRACTORS, SUPPLIERS AND PUBLIC BODIES
A | Nominated Sub-Contractors
The Contractor shall be responsible for the supervision and administration of any Nominated Sub-Contractor in accordance with the Conditions of Contract and will be required to arrange a programme with each Nominated Sub-Contractor.
Works required to be executed by a Nominated Sub-Contractor are given as Prime Cost (PC) Sums.
B | Payments to Nominated Sub-Contractors
At the time of every valuation of the works for Interim Certificate purposes, the Contractor shall submit in duplicate (through Consultants as applicable) with one copy to the Quantity Surveyor, a statement from each of the Nominated Sub-Contractors showing:
I. ► The gross amount (including cash discount and retention) claimed in
the current valuation.
II. ►The amount received from the Contractor to date before deduction
of contra charges.
Amount in respect of Nominated Sub-Contractors will not be included in valuation unless these statements are receive in good time.
These statements will be accepted as "reasonable proof" of payments to the Nominated Sub-Contractor, however, in addition, the receipted invoices of Nominated Sub-Contractors, shall be submitted to the Quantity Surveyor as a proof of such payments.
C | General Attendance
The Contractor shall allow against the items following each Prime Cost Sum described as "General Attendance" for nominated Sub-Contractors. This item is to include for use of the Contractors temporary roads, paving and paths, standing scaffolding, standing power, operated hoisting plant, the provision of temporary lighting and water supplies, clearing away rubbish, provision of space for the Nominated Sub-Contractors own offices and for the storage of plant and materials and the use of messrooms, sanitary accommodation and welfare facilities..
In addition, the Contractor shall give such facilities as the Project Manager may consider reasonable to all Nominated Sub-Contractors or Companies employed upon the works.
The Contractor shall give all such Nominated Sub-Contractors or Companies all information reasonably necessary to enable them to set out and execute their work properly in harmony with the surroundings and with other regards and shall not allow them to proceed otherwise.
TO COLLECTION
A | Special Attendance
Where required, the Contractor shall allow against the items following some Prime Cost Sums described as "Special Attendance" for some Nominated Sub-Contractors shall be given as an item in each case giving particulars (e.g. unloading, storing, hoisting, placing in position, providing power and additional or special scaffolding).
The Contractor will be required to produce evidence to the Project Manager that a Sub-Contract agreement has been entered into with each Sub-Contractor and when required, produce relevant documents to the Project Manager for inspection.
The Project Manager will require proof of payment of previously certified monies to Nominated Sub-Contractors before certifying any and/or final payment.
B | Provisional Sums Tendered for by Contractor
Should the Contractor tender for work covered in the Bill of Quantities by a Provisional Sum, the Contractor will be deemed to have included for all profit, overheads, discounts etc., required by him/her in his/her Sub-tender and the Provisional Sum included in these Bills of Quantities together with any profit shall be omitted if his/her tender is accepted.
C | Builder's Work
Unless otherwise stated, Builder's Work in connection with Nominated Sub-Contractor's Work shall be measured separately. The Contractor shall be responsible for ascertaining and co-ordinating Nominated Sub-Contractors requirements for all holes, chases, fixings and the like to structural concrete, block work and for obtaining the prior approval of the Engineer thereto. Holes and chases in concrete shall be formed at the time of casting the concrete and shall not be cut later, except with the approval of the Project Manager. No claim shall be considered for the extra cost of cutting away work already built as a result of the failure of Contractor to obtain sufficient particulars before hand.
D | Nominated Suppliers
Nominated Suppliers are given at Prime cost Sums. The Engineer reserves the right to inspect the relevant contracts of sale of all Nominated Suppliers.
E | Fix Only
The term 'FIX ONLY" used in connection with the fixing of goods and materials obtained from a Nominated Supplier shall be held to include in addition to the stipulations in the Standard Method of Measurement, the opening of crates and packages, inspecting goods and materials before taking delivery, notifying the Nominated Supplier of any breakages or deficiencies and ensuring rectification of any irregularities. No claim will be considered for extra costs or delay in consequence of any neglect on the part of the Contractor to carry out such inspection.
The Contractor shall allow for taking delivery of goods at the Nominated Suppliers warehouse (where applicable and transporting it to site). It must allow in addition for providing adequate and effective insurance cover for all materials from the point at which the suppliers insurance liability ceases until the time that such materials components are installed.
F | Contractor's Responsibility
The Contractor shall be responsible for agreeing with each Nominated Sub-Contractor/Supplier the dates at which It will require their respective approved drawings so that the works can progress regularly and diligently and shall keep the Project Manager informed of all such agreed dates.
TO COLLECTION
GENERAL FACILITIES AND OBLIGATIONS
A | Plant, Tools and Vehicles
The Contractor shall provide, maintain and remove on completion mechanical and other plant, transport, fuel, tols, tackle, scaffolding, stagging, instruments, implements and equipment of every description necessary for the full and complete execution of every part of the works. All work in connection with plant, scaffolding, staging, working accommodation, and the like shall be executed and maintained to the requirements of the Area Local Authority and to the satisfaction of the Project Manager.
B | Grid of Levels
Immediately on hand over of the site and before any work has been commenced, the Contractor shall arrange for a grid of levels to be taken of the site in the presence of and agreed by the Project Manager and shall supply the Project Manager and Quantity Surveyor with copies thereof.
C | Warning Lights
The Contractor shall provide and maintain all necessary temporary warning lights and notices in connection with scaffolding, fans, gantries, guardrail, hoardings and the like.
D | Working Drawings
The Contractor shall keep working drawings for all works on site at all times pasted on approved flat board and protected at all times from damage.
E | Articles of Value and Burial Remains
All coins or articles of value or antiquity which may be discovered in the excavations and/or on the site shall remain the property of the Employer and must be delivered up to the Consultants for instructions.
The Contractor shall, on discovery on site of bones or burial remains, adequately protect same and inform the Consultants for instructions.
F | Contractor's Supervision
The Contractor shall provide full and adequate supervision during the progress of the works and shall keep a competent and authorised person (approved by Consultants) in-charge of the works at all reasonable times. Such a person in-charge shall be responsible for the supervision, co-ordination and administration of the works and must be able to receive and act upon (on behalf of the Contractor) all instructions, directions or orders issued by the Consultants.
G | Obligations of Contractor
The Employer may engage other specialists, artisans or workers to execute works not forming part of this contract.
The Contractor shall be deemed to have made allowance for his/her responsibilities and obligations in connection with any persons directly engaged by the Employer.
TO COLLECTION
A | Co-ordination etc. of Work not Forming Part of this Contract
The Contractor shall be responsible for the co-ordination of work not forming part of this contract with the remainder of the works. The Contractor shall provide the various Authorities or Specialist Companies carrying out such work with sufficient information regarding line, level etc. as shown on the drawings, to enable them to provide and lay mains, cables etc. along routes on or adjacent to the site without any undue delays or interruptions and to suit the programme for the works.
B | Temporary Sheds
The Contractor shall provide and maintain temporary water-tight lock-up sheds for the storage of materials, tools and tackle for the use of all persons employed on the site including Nominated Sub-Contractors/Suppliers and others. ¦After, shift and adapt from time to time as necessary. Those sheds used for storage of cement and other perishable materials and the like shall have raised floors. Reinforcing bars, pipes and the like shall be racked under cover. Clear away on completion and reinstate all works disturbed.
C | Temporary Office Accommodation
The Contractor shall provide and maintain adequate office and other temporary accommodation and facilities for the use of the Contractor's site staff and for site meetings. After, shift and adapt from time to time as necessary and clear away on completion.N/A
D | Temporary Fencing, Hoardings, Screens Fans and Similar Items
The Contractor shall provide and maintain all necessary temporary hoardings, screens, fencing and gates to adequately enclose all the boundaries of the site for the duration of the contract for the protection of the public and for the proper execution of the works. Clear away on completion and reinstate all works disturbed.
E | Maintenance of Public and Private Property
The Contractor shall maintain public and private property (i.e. carriageways, footpaths, ditches, kerbs and the like) and shall keep the approach to the site free from excavated material, mud and debris. The Contractor shall be held responsible for and must make good at his/her own expense any damage caused in carriageways, kerbs, pavements, pavings, lamp posts, fencing, drain pipes, cables, main services etc. arising from the execution of the works.
F | Temporary Roads, Hardstandings, Crossovers and Similar Items
The Contractor shall provide and maintain as necessary all temporary roads, tracks, paths, hardstandings, shed bases, pavement, crossovers, and other temporary works and the like including those required by Nominated Sub-Contractors/Suppliers and others. Clear away on completion and reinstate all works disturbed.
G | Temporary Sanitary Accommodation
The Contractor shall provide, maintain and keep in a hygienic condition adequate temporary sanitary accommodation and facilities for all persons employed on the works including Nominated Sub-Contractors. Alter, shift and adapt from time to time as necessary. On completion of the works, the Contractor shall remove/ clear the said facilities, disinfect the ground and leave same in a clean and orderly manner.
TO COLLECTION
A | Site Meetings
The Contractor shall hold progress meetings which shall be attended by representatives of all Nominated Sub-Contractors/Suppliers engaged on the works, (and required by him/her to be present) to co-ordinate progress and ensure that the programme is met in all aspects. The contractor shall make adequate provision for logistics for the meeting including tables, chairs, snacks,food, etc
As soon as practicable, after the progress meeting, the Contractor shall convene a site meeting to be chaired and recorded by the Consultants and attended by other parties as may be appropriate. The Contractor shall be responsible for circulating minutes to all appropriate Nominated Sub-Contractors and for informing them of meetings and for providing the usual facilities and services required by such meetings.
C | First Aid Equipment
The Contractor shall provide adequate First Aid Equipment which shall be available for the use of the workmen during working hours.
D | Site Security
The whole of the works including those of Nominated Sub-Contractors shall be under the protection of the Contractor until the works are formally handed over to the Employer. Therefore, the Contractor shall safeguard the works, materials and plant against damage or theft. It will provide all necessary watching and lighting for the security of the works and the protection of the public. It will provide shelter and fuel for any watchman as required.
The Contractor shall be held responsible for the theft of any materials, plant, tools etc. while executing the works.
D | Protection of Works
The Contractor shall allow for protecting, in an approved manner, all parts of the works liable to damage from the effects of the sun, rain, drying winds or other unfavourable weather conditions. It shall further include for casing or otherwise suitably protecting all work of any description from any injury or damage arising out of the execution of the works. Should any part of the works become damaged, it must be reinstated to the Project Manager's satisfaction and at the Contractor's sole expense.
E | Protection Against Damage and Injury
The Contractor shall allow for providing all temporary fans, gantries, hoardings, guardrails, special protection and other means to all sides of the works and site as necessary to fully and efficiently protect adjoining property, persons, vehicles and the like from damage or injury and as required for the proper execution and completion of the whole of the works. It shall indemnify the Employer against all such damage or injury and reinstate and make good any damage caused.
F | Water for the Works
The Contractor shall provide water required for the works including that required by Nominated Sub-Contractors. The Contractor shall provide temporary arrangement for storing and distributing water on the site and alter, adapt and maintain as required and clear away on completion and pay all fees and charges in connection.
All work in connection with the water supply shall be executed in accordance with the requirements of the Local Water Company.
TO COLLECTION
A. | Temporary Lighting and Power
The Contractor shall provide all necessary temporary electric lighting and power for the works, including that required by Nominated Sub-Contractors. The Contractor shall make temporary arrangement for distributing power on the site and alter, adapt and maintain as required and clear away on completion and pay all fees and charges in connection. All such electrical work shall be executed in conformance with the requirement or regulations of the Local Electricity Company
C | Social Security Act
The Contractor shall allow for all costs arising out of the Social Security Act.
D | Fair Wages
The Contractor shall pay rates and wages and observe hours and conditions of labour which are not less favourable than the general level of wages, hours and conditions observed by other Building Trade Employers whose general circumstances in the Construction industry are similar.
E | Police Regulations
The Contractor shall allow for all costs arising from restrictions that may be imposed by the Police or other Authorities upon the execution of the works.
F | Programme Chart
Within twenty eight (28) days of the order to commence the works, the Contractor shall prepare and submit for the Consultant's approval a comprehensive programme chart covering all aspects of the works showing earliest and latest start and finish dates for each activity including all Nominated Sub-Contract work. The Contractor shall allow for preparing four (4) sets at monthly intervals or at stages to be determined by the Enginner.
G | Safefty, Health and Welfare
The Contractor shall be responsible for the welfare of all work people engaged upon the works and shall maintain all Safety, Health and Welfare measures for their protection. Amenities are to be provided of a suitable standard and are to be in accordance with any statute applicable. The Contractor shall recognise and allow for all statutory and religious holidays and rites.
H | Hard Hat and Protective Clothing
The Contractor shall provide all site operatives with protective clothing such as hard hat and protective foot wear (i.e. wellington boots) to protect such operatives from head and foot injury. The Contractor shall also provide all visitors to the site including all resident construction professionals with protective clothing such as hard hat and wellington boots and insist on their use.
J | Expenses on Labour
The Contractor shall allow for all emoluments and expenses arising out of Government, Trade Union and other applicable rules for the Construction Industry. Allow for all costs including transport in sending out or bringing labour to the site. Allow for all payments in respect of holidays with pay, the application of any bonus scheme and for all overtime and incentives which the Contractor may offer in order to attract and retain the necessary labour on the site and to achieve the date for completion.
TO COLLECTION
A | Labour Returns
The Contractor shall keep an accurate record of the labour employed on the project. The details when reguested shall be submitted to the Engineer for his/her records.
B | Dismissal of persons from Site
Any person employed on the works who in the opinion of Consultant is incompetent or who may act in an improper manner shall be immediately dismissed from the works by the instructions of the Engineer.
C | Working Hours and Overtime
The Contractor shall carry out the works during normal working hours. If the Contractor wishes, for any reason, to work overtime, It shall, except in the case of emergency, first obtain permission from the Engineer and give at least two (2) full working days notice. No extra payment will be allowed in respect of overtime working.
The Contractor is required to state the basic working hours per day of his/her work people upon which his/her tender is based. This information shall be given prior to production on site.
D | Adverse Weather
During adverse weather conditions, the Contractor shall suspend concreting and plastering for such time as the Engineer may direct and shall protect from injury all works then in the course of construction.
E | Dayworks
Should it be found in the opinion of the Engineer that, by reason of their intricate nature or exceptional circumstances, works ordered by him/her cannot be fairly valued at the schedule of rates for measured works, It may order these to be carried out on time and material (daywork) basis as Contract Condition
The Contractor shall give notice to the Engineer or his/her representative on the commencement and completion of any work for which It intends to submit Daywork Vouchers.
The Contractor shall keep an accurate record of time spent and materials and plant used on each separate instruction given. Daywork voucher shall be numbered and shall describe fully the instructions to which they refer and they shall be summarised, fully priced and submitted to the Engineer each week with a copy to the Quantity Surveyor. The submission of such Daywork voucher does not necessarily mean that the works will be valued under Contract Condition
F | Certificates and Payments
The Contractor shall supply the Quantity Surveyor with detailed priced statement of work executed and details of materials supplied to assist the Quantity Surveyor in the valuation of the amount to be certified by the Engineer for an interim payment. Preliminaries shall be valued on a proportion of work properly executed (rather than on a time basis) after due allowance having been made for initial site set up and final site clearance.
TO COLLECTION
A | Removing Water
The Contractor shall allow for bailing, pumping or otherwise removing all water (whether arising from the nature of the ground, weather, springs, drains or any other source) which may accummulate in the excavation or elsewhere on the site during the progress of the works.
The Contractor should allow here also for keeping the excavation and the works free from water in the ground below water level.
B | Removing Rubbish etc.
The Contractor shall remove all rubbish from site both as it accummulates from time to time and at completion.
The Contractor shall clean the works inside and out, remove stains and touch up paintwork and polished work and shall leave the whole works clean, ready for occupation and to the satisfaction of the Project Manager.
On completion of the works, the Contractor shall remove from site all plant, building appliances, apparatus or equipment and unused or surplus materials together with all rubbish, debris, (including that of Nominated Sub-Contractors) all temporary buildings, sheds, barriers, scaffolidng and the like and shall make good all works disturbed.
C | Progress Photographs
The Contractor shall allow for supplying four (4) copies of progress photographs (in full plate size [A4] and in color) monthly to the Engineer throughout the duration of the contract. The pictures must be taken at specific locations of the site as agreed with the Engineer to show a comprenhsive state of the work done on site
D | Records Keeping
The Contractor shall keep accurate dated record in the form of "works diary" on the site recording the weather, the number of men employed in all trades, progress of the works, temperature, delivery of materials to the site, visitors and other events influencing the progress and quality of the works. Proper delivery notes of materials etc. (stating the name of the project) shall be kept and presented to the or his/her representative for inspection.
E | Inspection of Invoices and Receipts
The Contractor shall, whenever required, produce for inspection all invoices and receipted account relating to the project. Such invoices and accounts may be retained by the Engineer and/or Quantity Surveyor for inspection and will be returned to the Contractor with all convenient speed.
F | Checking Schedules, Drawings and Information
The Contractor shall be responsible for checking all schedules, drawings and all other information supplied by the Consultants. In the event of any discrepancy between the schedules, drawings and the like, the Contractor shall report the discrepancy to the Engineer for his/her instructions. Should the Contractor consider the need for a detailed drawn information It shall apply for such detailed drawn information at least four (4) weeks before the works concenred are to be executed.
TO COLLECTION
A | Quality of Materials and Workmanship
Where and to the extent that materials/components, products and workmanship are not fully described in these Bills of Quantities, such materials/components shall be deemed to be:
1. New materials/components
2. Suitable for the purpose of the works stated in or reasonably to be
inferred from the Contract Documentation.
3. In accordance with good building practice.
B | Publicity
The contract documents and everything contained therein shall be treated as private and confidential. In particular, no information, drawing or photograph concerning the works shall be published unless previously approved in writing by the Engineer.
C | Materials Short Supply
The Contractor shall order in advance any material in short supply and shall allow in his/her tender for any additional cost of double handling, special storage requirement and the like.
D | Material Deliveries
The Contractor shall be responsible for ensuring that all building materials, plant etc. including that of Nominated Sub-Contractors are available at the site at the proper time for use in the works, and shall make all necessary enquiries, throughout the progress of the works to ensure continuity of supplies.
The Contractor shall make an allowance which It may consider necessary for additional handling of materials and provision of storage accommodation by reason of the necessity for him/her to accept deliveries of materials in advance of requirements so as to obviate any delays which may be occasioned by transport and delivery difficulties.
E | Responsibility for Offshore Materials
The Contractor shall take full responsibility for obtaining any offshore materials specified and where such materials are not readily obtainable locally, the Contractor shall obtain the necessary import licences and/or exchange control permits and all cost of obtaining licences, foreign exchange and all additional charges for importation and delivery to the site are deemed to be included in his/her rates.
TO COLLECTION
A. | Equivalent Materials
Where applicable or processes are specified, the Contractor may propose an equivalent material or process as an alternative thereto but no such material or process shall be used in the works without prior consent in writing by the Project Manager.
B | Testing of Materials
The contractor will be required to carry out geotechnical and materials test on site and to prepare,pack and dispatch when instructed to do so by the Consultant.
C | Approval of Samples
Where and to the extent that products, materials/components and work are specified to be approved, or if the Consultants instructs or requires that they are to be approved, the same must be supplied and executed to comply with all other requirements and in respect of the stated or implied characteristics either:
1. To the express approval of the Consultants or
2. To match a sample expressly approved by the Consultants as a standard for the purpose
The Contractor shall provide all samples or other evidence of suitability and retain for comparison with products, materials/components and finjshed work included in the works and remove from site when no longer required.
Inspection or any other action by the Consultants must not be taken as approval of materials/components, products or work unless the Consultants so confirm in writing stating:
1. Date of inspection
2. Part of the works inspected.
3. Respects of characteristics which are approved.
4. Extent and purpose of the approval.
5. Any associated conditions.
D | Fire Precautions
The Contractor shall take all the necessary precautions to eliminate all fire hazards and prevent fire damage works, building materials/components, equipment and all other property both public and personal involved or in connection with the project. All oil and petrol containers shall be kept in suitable sheds.
E | Defective Materials and Workmanship
The Contractor shall use only the specified materials in the execution of the works in a proper manner. All unspecified materials and faulty workmanship shall be rejected by the Engineer. Upon receipt of notice of any rejection, the Contractor shall remove such unacceptable materials and/or defective workmanship from the works and shall be replaced with the specified materials and workmanship in a satisfactory manner.
F | Religious Rites
Religious Rites shall not be interfered with unnecessarily.
TO COLLECTION
A | Examination of the Works
No completed part of the works shall be covered up until it has been examined and declared satisfactory by the Engineer.
The Contractor shall, if required by the Engineer, at his/her own cost open up completed works and search for the cause of any defect, imperfection or fault. The Contractor shall at his/her own cost repair, rectify and make good that defect, imperfection or fault to the Engineer's satisfaction.
B | Trespass and Nuisance
The Contractor shall take all reasonable precaution to prevent a nuisance or inconvenience to the Employer and owners, tenants or occupiers of adjoining properties and to the general public. The Contractor shall prevent his/her operatives from entering any adjoining land or property other than that in which It is actually employed, and the Contractor will be held responsible for any loss or damage which can be ascertained and proved to have been occasioned by his/her operatives.
C | Antiquities
All objects of value or antiquity found on the Site shall remain the property of the Employer and such funds shall be immediately reported to the Consultant.
D | Operating and Maintenance Manual
The Contractor shall arrange for and provide the Engineer at completion and handover of the works, with an operating and maintenance manual containing manufacturer's printed brochures covering all items of plant, equipment and controls used for electrical installation, cold and hot water installation and fire fighting equipment.
The brochures shall also contain:
i. Names and address of the Sub-Contractors nominated for the
installation together with all the required guarantees.
ii. Names, addresses and telephone numbers for component producers
and places where services or spare parts may be obtained.
iii. Complete, typed and detailed instruction sheets for correct identification
of each item of equipment and/or controls.
iv. A general description of the scope, purpose and manner of working of
each system of automatic control apparatus.
v. Data on general design parameters and associated normal operating
temperatures, pressures etc. based on the commissioning tests.
vi. Clear and comprehensive instructions for the starting up, running or
shutdown of each system or apparatus.
vii. Instructions in respect of the care of apparatus normally subject to
seasonal disuse.
TO COLLECTION
A | Handover of Completed Works
The Contractor shall allow for and comply with the following requirements for handover of the works or where the Employer with the consent of the Contractor shall take possession of any part or parts of same.
The Contractor must give to the Consultants a written notice of time not more than eight (8) weeks and not less than four (4) weeks before the date by which the Contractor proposes that the works or any part thereof for handover shall reach Practical Completion. (The Consultants will require to obtain the Employer's agreement to all proposals made by the Contractor for handover of any part or parts of the Works).
Following receipt of written notice from the Contractor of any proposed date(s) for handover(s), the Consultants will require to satisfy himself/herself that the Works or the relevant part(s) thereof, are in a sufficient state of readiness to attain Practical Completion by the date(s) proposed.
The Consultants will inspect the Works and subject to his/her being so satisfied will make provisional arrangements for handover and may issue to the Contractor a list of items requiring rectification or completion before handover. The issue of such a list does not relive the Contractor of any of his/her obligations under the Contract. (If the Project Manager does not consider the Works or the relevant part(s) to be in a sufficient readiness, then it is for the Contractor to bring the Works or relevant part(s) up to that stage and to inform the Consultants in writing when It has done so).
As soon as the Contractor has satisfied himself/herself that all such items have been completed or remedied, It shall notify the Consultants in writing. The Consultants will then make a preliminary check and provided this shows that no more than minor items of work remain to be attended to and the Contractor undertakes to do so before handover, the Consultants will agree on the date for the normal handover inspection.
Such inspection will be made by the Consultants in the presence of duly authorised representatives of the Contractor and of the Employer. Subject to the Consultants being of the opinion that the Works or the relevant part(s) thereof are practically completed, within the meaning they shall be deemed to have reached Practical Completion on that day and the Consultants shall certify accordingly.
TO COLLECTION
COLLECTION
| Page 1/1 |  |  |  | 0
| Page 1/2 |  |  |  | 0
| Page 1/3 |  |  |  | 0
| Page 1/4 |  |  |  | 0
| Page 1/5 |  |  |  | 0
| Page 1/6 |  |  |  | 0
| Page 1/7 |  |  |  | 0
| Page 1/8 |  |  |  | 0
| Page 1/9 |  |  |  | 0
| Page 1/10 |  |  |  | 0
| Page 1/11 |  |  |  | 0
| Page 1/12 |  |  |  | 0
| Page 1/13 |  |  |  | 0
| Page 1/14 |  |  |  | 0
| Page 1/15 |  |  |  | 0
| Page 1/16 |  |  |  | 0
| Page 1/17 |  |  |  | 0
| PRELIMINARIES |  |  |  | 0
Carried to General Summary

## SUBSTRUCTURE
BILL NO 2: SUBSTRUCTURE
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT
D: GROUNDWORK:
Site Preparation
A | Clearing of site bushes and shrubs; cut down small trees | 300 | m2 |  | 0
Excavating
B | Topsoil for preservation average depth 150mm | 45 | m2 |  | 0
C | Pits; Maximum depth not exceeding 2.0m | 7 | m3 |  | 0
D | Trenches, width exceeding 300mm, maximum depth not exceeding 2.00m | 120 | m3 |  | 0
Disposal
E | Disposal of excavated material off site | 40 | m3 |  | 0
Filling
F | Filling to excavations average thickness exceeding 0.25m granular material obtained on site | 60 | m3 |  | 0
G | Filling in layers not exceeding 150mm thick. | 121 | m3 |  | 0
Damp Proof Membrance
H | 350 micron LDPE DPM or similar approved; | 230 | m² |  | 0
0
| Surface Treatment |  |  |  | 0
0
J | Blind surface of excavations with fine material to receive concrete | 60 | m2 |  | 0
0
| Carried To Collection |  |  | GHC | 0
ITEM | DESCRIPTION |  | UNIT | RATE | AMOUNT
CONCRETE
E: IN-SITU CONCRETE / LARGE PRECAST
Plain in-situ concrete; B.S. 5328, ordinary prescribed
mix C15-20mm , aggregate; vibrated
A | Blinding beds; thickness not exceeding 150mm | 4 | m3 |  | 0
B | Foundation | 12 | m3 |  | 0
0
C | Overside Concrete;thickness 150mm | 26 | m3 |  | 0
D | Ground beam | 7 | m3 |  | 0
Reinforced in-situ concrete; B.S. 5328, ordinary
prescribed mix C25 -20mm aggregate, vibrated
E | Column bases | 7 | m3 |  | 0
0
F | Column | 2 | m3 |  | 0
Formwork and basic finishes
G | Sides of beams, Isolated regular 0borectangular shape, | 34 | m² |  | 0
H | Edge of beds, plain vertical, height not exceeding 150mm | 14 | m² |  | 0
I | Columns; Isolated; regular shaped; rectangular | 14 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S. 4449; mild steel 260N/mm2
J | 16mm Diameter bar; Column bases | 1540 | kg |  | 0
K | 16mm Diameter bar in Columns | 678.92 | kg |  | 0
L | 10mm Diameter bar in Columns | 258.39 | kg |  | 0
M | 16mm Diameter bar; Beam | 1075.44 | kg
N | Steel fabric reinforcement to BS 4483 Red. A393 (10mm diameter at 200mm centres and weighing 6.16kg/m²) and fixing as described with 300mm minimum side and end laps (measured net - no allowance made for laps) in bed | 196 | m² |  | 0
|  |  |  | GHC | 0
Carried To Collection
|  | QUANTITY | UNIT | RATE | AMOUNT
ITEM | DESCRIPTION
F: MASONRY
F10: BRICK/ BLOCK WALLING
Sandcrete, 400 x 200mm solid compressive strength
4.0N/mm2 in cement mortar(1:4)
|  | 180 | m² |  | 0
A | Walls; 200mm thick
F30: SUNDRIES
|  | 45 | No |  | 0
B | 3 x 25mm Galvanised mild steel fixing cramp 250mm girth one end bent, pinned to formwork and cast into concrete, the other end split, bent back and built into joint of blockwork
J30: LIQUID APPLIED TANKING/DAMP PROOFING
All Waterproofing Materials Are To Be Obtained From "MC-Bauchemie Ghana Limited" As Described In The Specifications
Aquamulus B60 AE Emulsified Waterproof Protective Coating On:-
C | Blinding bed | 58 | m² |  | 0
D | Sides and top of foundations | 360 | m² |  | 0
E | Sides and top of ground beam | 34 | m² |  | 0
F | Columns | 14 | m² |  | 0
0
RENDERED / PLASTERED / ROUGHCAST COATINGS
Mortar, cement and sand mortr (1:4) rendering to
concrete and blockwork with steel trowel
A | 20mm thick to walls width exceeding 300mm, plain | 45 | m2 |  | 0
PAINTING
M60 PAINTING/CLEAR FINISHING
Prepare and apply one undercoat skimming, two full coats of acrylic emulsion paint on cement rendered surfaces
A | Walls | 45 | m² |  | 0
|  |  |  | GHC | 0
COLLECTION
| Page No. 1/3 |  |  |  | 0
| Page No. 2/3 |  |  |  | 0
| Page No. 3/3 |  |  |  | 0
SUBSTRUCTURE
| CARRIED TO SUMMARY |  |  | GHC | 0

## GROUND FLOOR
BILL NO.3: GROUND FLOOR
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT
CONCRETE WORKS
Reinforced in-situ concrete; B.S. 5328, ordinary
mix C25-20mm , aggregate; vibrated
A | Beams | 10 | m3 |  | 0
B | Columns | 5 | m3 |  | 0
C | Slabs; thickness ≤ 150mm | 30 | m3 |  | 0
D | Lintels | 2 | m3 |  | 0
E | Staircase | 2 | m3 |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
F | Sides and soffits of beams, Isolated regular
| rectangular shape, | 34 | m² |  | 0
G | Columns , Isolated, regular shape, rectangular | 97 | m² |  | 0
H | Soffits of slabs, thickness ≤ 150mm | 195 | m² |  | 0
J | Soffits of sloping slabs, slope > 150 | 2 | m² |  | 0
K | Edges of suspended slabs; plain vertical | 56 | m |  | 0
L | Landing beam, regular shape; rectangular |  | m² |  | 0
L | Landing, regular shape; rectangular | 15 | m² |  | 0
M | Steps in top surfaces; plain vertical | 22 | m |  | 0
N | Sides of string; plain vertical; height not exceeding 250mm | 30 | m |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S. 4449 ; mild steel (R) 260N/mm2
P | 16mm Diameter bar; Column | 1325.7 | kg |  | 0
Q | 16mm Diameter bar; Beam | 842.83 | kg |  | 0
R | 12mm Diameter bar; Slab | 2418.61 | kg |  | 0
S | 12mm Diameter bar; Lintels | 320 | kg |  | 0
T | 16mm Diameter bar; Staircase | 420 | kg |  | 0
Links
U | 10mm Diameter bar; column | 400.37 | kg |  | 0
V | 10mm Diameter bar; beam | 213.46 | kg |  | 0
0
W | 10mm Diameter bar; Staircase | 10 | kg |  | 0
| Carried To Collection |  |  |  | 0
BLOCKWORK
Sandcrete,450 x 225mm solid compressive;
strength 4.0N/mm2 in cement mortar(1:4)
A | Walls; 150mm thick | 400 | m2 |  | 0
F30: SUNDRIES
B | 3 x 25mm Galvanised mild steel fixing cramp 250mm girth one
end bent, pinned to formwork and cast into concrete, the other end
| split, bent back and built into joint of blockwork | 60 | No. |  | 0
| Carried To Collection |  |  | GHC | 0
CARPENTRY / TIMBER FRAMING / FIRST FIXING
Sawn hardwood as described in:
A | 50 x 50mm Ceiling Noggings and Joist | 200 | m |  | 0
B | Supply and install wooden cabinets for the kitchen as per consultants preference and design.(Provisional Sum = GhC30,000.00) | 1 | P.sum |  | 0
| Carried To Collection |  |  | GHC | 0
JOINERY
WINDOWS/DOORS
A | Supply and installation of KS 50 aluminium frame horizontal sliding window with white sash frame finish 3000mm x 1500mm x 50mm, 6mm thick grey tinted glass with 2nr panes including mosquitoe netting complete and all accessories,firmly secured into block wall with screws as per drawings - W1 | 3 | No |  | 0
B | Ditto,2 nr pane 2800mmx1500mmx50mm do.-W2 | 1 | No |  | 0
C | Ditto,2 nr pane 1500mmx1500mmx50mm do.-W3 | 6 | No |  | 0
D | Ditto,2 nr pane 1500mmx1000mmx50mm do.-W5 | 1 | No |  | 0
E | Ditto,2 nr pane 800mmx900mmx50mm do.-W6 | 4 | No |  | 0
F | Ditto, Fixed Frame, 700mmx2000mmx50mm do.-W4 | 2 | No |  | 0
G | Include the Provisional Sum of Twenty Thousand Ghana cedis (GHC 20,000) for supply and installation of galvanised steel pipes welded to approved pattern as burglarproofing to All window sizes fixed to blockwall with sand and cement mortar (measured separately) | 1 | Item |  | 0
H | Include the Provisional Sum of Sixty Thousand Ghana cedis (GHC 60,000) for Doors supplied and fixed by the contractor as directed by the Consultant specifications. | 1 | Item |  | 0
J | Include the prime cost sum of Thirty Five Thousand Ghana cedis (GHC 35,000) for Entrance Door supplied and fixed by the contractor as directed by the Consultant specifications. | 1 | Item |  | 0
| Carried To Collection |  |  | GHC | 0
M: SURFACE FINISHES
CEILING FINISHES
A | Mineral Fibre acoustic ceiling tiles, NRC - 0.70, size 600 x 600 x 15mm with Square-edge and white painted finish, laid on fire rated OWAconstruct S3 exposed demountable T24 suspension system, comprising galvanised main tees and cross tees with main tees suspended by means of galvanised hangers at centres not exceeding 1200mm, and all installed to manufacturer's instructions. | 240 | m² |  | 0
RENDERED / PLASTERED / ROUGHCAST COATINGS
Mortar, cement and sand mortr (1:4) rendering to
concrete and blockwork with steel trowel
E | 20mm thick to walls width exceeding 300mm, plain | 700 | m2 |  | 0
F | Column and beams | 60 | m² |  | 0
250mm X 120 X 130mm thick tile bricks laid on surface of walls on cement and sand mortar(1:3) backing
G | Walls surface | 120 | m2 |  | 0
FLOOR FINISHES
Cement and Sand screed (1:4) 40mm thick to floors,level and falls only not exceeding 15 degrees to receive
H | Floor bed | 210 | m2 |  | 0
J | Staircase | 6 | m2 |  | 0
M40 STONE/CONCRETE/ QUARRY/CERAMIC TILING/MOSAIC
Non-Slip Porcelain tiles, 3mm joints, symmetrical layout;fixing with adhesive cement
K | 450 x 450 x 9mm units to floors level to falls only not exceeding 15 degrees from horizontal,plain | 210 | m2 |  | 0
L | Ditto, Staircase | 6 | m |  | 0
M | Skirting wall 100mm high | 109 | m |  | 0
0
| 300 x 450 x 9mm units to floors level to falls only not exceeding 15 degrees from horizontal,plain for washrooms walls | 75 | m2 |  | 0
| Carried To Collection |  |  | GHC | 0
PAINTING
M60 PAINTING/CLEAR FINISHING
Prepare and apply one undercoat skimming, two full coats of acrylic emulsion paint on cement rendered surfaces
A | Walls | 850 | m² |  | 0
B | Vertical Column and beams; ditto | 59 | m² |  | 0
Prepare and apply one undercoat, one full coat of
emulsion paint on:
C | Horizontal soffit of plaster board ceiling | 210 | m² |  | 0
| Carried To Collection |  |  | GHC | 0
J | Glass shower enclosure and shower tray in white fireclay with slip resistant base as per the specifications, 40mm dia. Strainer waste trapped.. Size: 1500 x 1000mm. The unit shall be BALMORAL as produced by TWYFORDS or approved equal. |  | #REF! | 5850 | 0
K | Sponge hook in chrome. Twyfords or approved equal | 0 | #REF! | #REF! | #REF!
M | Overhead shower fitting comprising 15mm hot & cold mixer brass tap and diverter in wall with chrome plated hand wheel and wall flange, for 15mm concealed riser pipe and 15mm angled shower arm chrome plated 223mm projection, 100mm chrome plated shower head pillar tap |  | #REF! | #REF! | #REF!
SUMMARY
A | CONCRETE WORKS |  |  |  | 0
B | BLOCKWORK |  |  |  | 0
C | CARPENTRY |  |  |  | 0
D | JOINERY |  |  |  | 0
F | FINISHES |  |  |  | 0
G | PAINTING AND DECORATION |  |  |  | 0
GROUND FLOOR
| CARRIED TO SUMMARY |  |  | GHC | 0

## FIRST FLOOR
BILL NO.4: FIRST FLOOR
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT
CONCRETE WORKS
Reinforced in-situ concrete; B.S. 5328, ordinary
mix C25-20mm , aggregate; vibrated
A | Beams | 9 | m3 |  | 0
B | Columns | 5 | m3 |  | 0
C | Slabs; thickness ≤ 150mm | 6 | m3 |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
C | Sides and soffits of beams, Isolated regular
| rectangular shape, | 34 | m² |  | 0
D | Columns , Isolated, regular shape, rectangular | 97 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S. 4449 ; mild steel (R) 260N/mm2
E | 16mm Diameter bar; Column | 1062.4 | kg |  | 0
F | 16mm Diameter bar; Beam | 1075.44 | kg |  | 0
0
G | 12mm Diameter bar; Slab | 600 | kg |  | 0
Links
H | 10mm Diameter bar; column | 375.52 | kg |  | 0
I | 10mm Diameter bar; beam | 320 | kg |  | 0
J
| Carried To Collection |  |  | GHC | 0
BLOCKWORK
Sandcrete,450 x 225mm solid compressive;
strength 4.0N/mm2 in cement mortar(1:4)
A | Walls; 150mm thick | 400 | m2 |  | 0
B | Parapet wall | 70 | m2 |  | 0
F30: SUNDRIES
C | 3 x 25mm Galvanised mild steel fixing cramp 250mm girth one
end bent, pinned to formwork and cast into concrete, the other end
| split, bent back and built into joint of blockwork | 100 | No. |  | 0
| Carried To Collection |  |  | GHC | 0
CARPENTRY / TIMBER FRAMING
Sawn hardwood as described in:
A | 50 x 150mm rafters | 195 | m |  | 0
B | 50 x 100mm Purlins | 300 | m |  | 0
C | 50 x 100mm Wall Plates | 55 | m |  | 0
D | 50 x 50mm Ceiling Noggings and Joist | 320 | m |  | 0
E | 50 x 50mm ceiling hangers and structs | 201 | m |  | 0
F | 75 x 150mm Ridge board | 16 | m |  | 0
| Carried To Collection |  |  | GHC | 0
H: CLADDING/COVERING
H31: METAL PROFILED SHEET CLADDING
J | Roof covering , pitch 4 degrees, 0.5mm prepainted | 134 | m |  | 0
L | Allow for downspouts |  | Item |  | 0
| Carried To Collection |  |  | GHC | 0
JOINERY
WINDOWS/DOORS
A | Supply and installation of KS 50 aluminium frame horizontal sliding window with white sash frame finish 3000mm x 1500mm x 50mm, 6mm thick grey tinted glass with 2nr panes including mosquitoe netting complete and all accessories,firmly secured into block wall with screws as per drawings - W1 | 2 | No |  | 0
B | Ditto,2 nr pane 2800mmx1500mmx50mm do.-W2 | 1 | No |  | 0
C | Ditto,2 nr pane 1500mmx1500mmx50mm do.-W3 | 6 | No |  | 0
D | Ditto,2 nr pane 800mmx900mmx50mm do.-W6 | 4 | No |  | 0
E | Ditto,2 nr panes 2200mmx 1500mmx50mm do.-W7 | 1 | No |  | 0
0
F | Ditto, Fixed Frame; 1000mmx3000mmx50mm do.-W8 | 1 | No |  | 0
H | Include the Provisional Sum of Twenty Thousand Ghana cedis (GHC 20,000) for supply and installation of galvanised steel pipes welded to approved pattern as burglarproofing to All window sizes fixed to blockwall with sand and cement mortar (measured separately) | 1 | P.Sum |  | 0
J | Include the Provisional Sum of Sixty Thousand Ghana cedis (GHC 60,000) for Doors supplied and fixed by the contractor as directed by the Consultant specifications. | 1 | P.Sum |  | 0
| Carried To Collection |  |  | GHC | 0
M: SURFACE FINISHES
CEILING FINISHES
A | Mineral Fibre acoustic ceiling tiles, NRC - 0.70, size 600 x 600 x 15mm with Square-edge and white painted finish, laid on fire rated OWAconstruct S3 exposed demountable T24 suspension system, comprising galvanised main tees and cross tees with main tees suspended by means of galvanised hangers at centres not exceeding 1200mm, and all installed to manufacturer's instructions. | 240 | m² |  | 0
RENDERED / PLASTERED / ROUGHCAST COATINGS
Mortar, cement and sand mortr (1:4) rendering to
concrete and blockwork with steel trowel
B | 20mm thick to walls width exceeding 300mm, plain | 900 | m2 |  | 0
C | Column and beams | 60 | m² |  | 0
250mm X 120 X 130mm thick tile bricks laid on surface of walls on cement and sand mortar(1:3) backing
D | Walls surface | 130 | m2 |  | 0
FLOOR FINISHES
Cement and Sand screed (1:4) 40mm thick to floors,level and falls only not exceeding 15 degrees to receive
E | Floor bed | 210 | m2 |  | 0
M40 STONE/CONCRETE/ QUARRY/CERAMIC TILING/MOSAIC
Non-Slip Porcelain tiles, 3mm joints, symmetrical layout;fixing with adhesive cement
F | 450 x 450 x 9mm units to floors level to falls only not exceeding 15 degrees from horizontal,plain | 210 | m2 |  | 0
G | Skirting wall 100mm high | 110 | m |  | 0
H | 300 x 450 x 9mm units to floors level to falls only not exceeding 15 degrees from horizontal,plain for washrooms walls | 60 | m2 |  | 0
I | Coping size 225 x 50mm (Average) including throating on both sides | 60 | m |  | 0
| Carried To Collection |  |  | GHC | 0
PAINTING
M60 PAINTING/CLEAR FINISHING
Prepare and apply one undercoat skimming, two full coats of acrylic emulsion paint on cement rendered surfaces
A | Walls | 900 | m² |  | 0
B | Vertical Column and beams; ditto | 60 | m² |  | 0
| Carried To Collection |  |  | GHC | 0
J | Glass shower enclosure and shower tray in white fireclay with slip resistant base as per the specifications, 40mm dia. Strainer waste trapped.. Size: 1500 x 1000mm. The unit shall be BALMORAL as produced by TWYFORDS or approved equal. |  | #REF! | 5850 | 0
K | Sponge hook in chrome. Twyfords or approved equal | 0 | #REF! | #REF! | #REF!
M | Overhead shower fitting comprising 15mm hot & cold mixer brass tap and diverter in wall with chrome plated hand wheel and wall flange, for 15mm concealed riser pipe and 15mm angled shower arm chrome plated 223mm projection, 100mm chrome plated shower head pillar tap |  | #REF! | #REF! | #REF!
SUMMARY
A | CONCRETE WORKS |  |  |  | 0
B | BLOCKWORK |  |  |  | 0
C | CARPENTRY / TIMBER FRAMING |  |  |  | 0
D | CLADDING / COVERING |  |  |  | 0
E | JOINERY |  |  |  | 0
G | FINISHES |  |  |  | 0
H | PAINTING AND DECORATION |  |  |  | 0
FIRST FLOOR
| CARRIED TO SUMMARY |  |  | GHC | 0

## ELECTRICALS
BILL NO.6 - ELECTRICAL INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT | SUPPLY | INSTALL | TOTAL | TOTAL
|  |  |  | RATE | RATE | RATE | AMOUNT
|  | (n) |  | (b) | (b) | t = ( a+b ) | T = nt
|  |  |  | GH¢ | GH¢ | GH¢ | GH¢
ELECTRICAL INSTALLATION WORKS FOR PROPOSED REGIONAL LABOR OFFICES
V20: LV DISTRIBUTION
LV SWITCHGEAR AND DISTRIBUTION BOARD
A | Supply and install 8-way TPN 100A Merlin Gerin | 1 | No. |  |  | 0 | 0
Panelboard complete with mixed rating
MCCB outgoing ways as per the drawings
Ref: ABB or Scheider or Hagar
B | Flush/ surface mounted 8-way TPN distribution board | 1 | No |  |  | 0 | 0
with 63A integral main switch complete with
MCB outgoing ways as per drawings
Ref: ABB, Hagar or approved equal
C | Flush/ surface mounted 12-way SPN Consumer Unit | 1 | No |  |  | 0 | 0
with 63A integral main switch complete with
MCB outgoing ways as per drawings
Ref: ABB, Hagar or approved equal
CABLES AND ACCESSORIES
600/ 1000V Solid copper conductors to
All Cables must be BASEC Accredited
D | 4 x 25mm2 XLPE/PVC copper cable (provisional) | 50 | m |  |  | 0 | 0
DE | CPC-16mm2 pvc cable | 50 | m |  |  | 0 | 0
F | 5 x 16mm2 XLPE/PVC copper cable | 50 | m |  |  | 0 | 0
G | 3 x 16mm2 XLPE/PVC copper cable | 50 | m |  |  | 0 | 0
Cable glands and lugs.
H | Brass gland kit, indoor type for LV cables specified above locknut, earthtag and shroud. Ref. ETS BWK 25. | 1 | Lot |  |  | 0 | 0
I | Cable lugs Ref. ETS | 1 | Lot |  |  | 0 | 0
J | 100A TPN Isolator switch Ref: ABB, powertec or approved equal | 1 | No |  |  | 0 | 0
K | 63A SPN Isolator switch | 1 | No |  |  | 0 | 0
| ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM | [5 empty] | 0
V21: GENERAL LIGHTING
LUMINAIRES
Supply, install and connect the following luminaires with all
necessary accessories complete (lamps, attachments, etc.)
A | 230 or 240V/ 50-60Hz 40W LED switchstart modular recessed 600mmx600mm panel luminaire with driver or transformer and all associated fixtures to complete with luminous flux of 3600lm, correlated color 3000k and color temperature of 4000k and color rendering Index > 80 (Ref PHILIPS Lighting or Robus Lighting) | 21 | No |  |  | 0 | 0
[6 empty] | 0 | 0
B | Ditto but with 3 hour emergency pack. | 9 | No |  |  | 0 | 0
[6 empty] | 0 | 0
C | 220-240V/ 50-60Hz 18W LED Downlight recessed, color temperature of 4000k, 2100LM, IP21 rated (Ref: PHILIPS Lighting ) | 21 | No |  |  | 0 | 0
[6 empty] | 0 | 0
D | Ditto but with 3 hour emergency pack. | 6 | No |  |  | 0 | 0
[6 empty] | 0 | 0
E | 12W 1435lm LED IP44 Downlight, Philips Greenspace accent, luminaire flux of 1700LM, color temperature or 3000K, color rendering index 100, for washrooms (Ref. PHILIPS RS340B 1xLED17S/830 MB) | 6 | No |  |  | 0 | 0
[6 empty] | 0 | 0
F | 220-240V/50Hz,19W Surface Mounted LED wall light, Luminaire flux of 2100LM, Color temperature of 4000K and color rendering index 80. IP65 Rated (Ref. PHILIPS Lighting ) | 6 | No |  |  | 0 | 0
[6 empty] | 0 | 0
G | Ditto but with 3 hour emergency pack. | 2 | No |  |  | 0 | 0
H | 220-240V/50Hz, 30.5W Surface Mounted LED Battern Light, Luminaire flux of 4200LM, Color temperature of 3000K and color rendering index 100 IP67 (Ref. PHILIPS Lighting ) | 5 | No |  |  | 0 | 0
I | 8W Illuminated LED exit light | 3 | No |  |  | 0 | 0
[6 empty] | 0 | 0
J | 1x24W LED Wall light, rated IP65 | 4 | No |  |  | 0 | 0
CONDUITS AND CABLES
All Cables must be BASEC Accredited
K | 20mm Diameter pvc conduit including all fixing accessories in floor screeds or chases in block work | 1000 | m |  |  | 0 | 0
L | Circular assorted boxes of various ways and covers | 130 | No |  |  | 0 | 0
M | Rectangular flush steel boxes; 75mm x 75mm x 25mm | 45 | No |  |  | 0 | 0
N | 1.5mm2 PVC insulated single core copper cable | 1100 | m |  |  | 0 | 0
drawn in conduit (Red), phase cable
O | 1.5mm2 PVC insulated single core copper cable | 1100 | m |  |  | 0 | 0
drawn in conduit (Black), neutral cable
P | 1.5mm2 PVC insulated single core copper cable | 1100 | m |  |  | 0 | 0
drawn in conduit (Green/Yellow), earth cable
Q | Termination accessories (Blade and Ring terminals etc. ) | 1 | lot |  |  | 0 | 0
R | Allow for cutting and chasing | 1 | Lot |  |  | 0 | 0
0
ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM
FLUSH PLATE SWITCHES
Mk Logic Range or equal
A | 6 Amp; 1gang; 1 way; single pole switch | 15 | No |  |  | 0 | 0
B | 6 Amp; 2 gang; 1 way; single pole switch. | 14 | No |  |  | 0 | 0
C | 6 Amp; 1 gang; 2way; single pole switch. | 6 | No |  |  | 0 | 0
FINAL CIRCUITS
Final circuits; 240V; 6A.
Extractor fan Units
D | 20mm Diameter conduit; pvc; rigid laid in chases in | 250 | m |  |  | 0 | 0
block work or in floor screeds
E | 1.5mm2;Green/yellow insulated single core copper cable | 250 | m |  |  | 0 | 0
drawn in conduit as earth continuity conductor
F | 1.5mm2; Pvc insulated single core copper cable drawn | 500 | m |  |  | 0 | 0
in conduit
G | Occupancy Sensor - Ceiling Mounted | 8 | No |  |  | 0 | 0
Final circuits; 415V; 32A
Air Conditioning Units
H | 20mm Diameter conduit; pvc; rigid laid in chases in | 550 | m |  |  | 0 | 0
| block work or in floor screeds. Ref Interplast or approved equal |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
I | 75 x 75mm Flush steel boxes | 22 | No |  |  | 0 | 0
[6 empty] | 0 | 0
J | 4.0mm2 PVC insulated single core copper cable | 550 | m |  |  | 0 | 0
drawn in conduit (Brown), phase cable
K | 4.0mm2 PVC insulated single core copper cable | 550 | m |  |  | 0 | 0
drawn in conduit (Black), neutral cable
L | 4.0mm2 PVC insulated single core copper cable | 550 | m |  |  | 0 | 0
drawn in conduit (Green/Yellow), earth cable
M | 20A DP Airconditioning Switch | 22 | No |  |  | 0 | 0
| ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM | [5 empty] | 0
Final circuit; 240V ;13A
General Purpose Socket
MK Logic Range.
A | 20mm Diameter conduit; pvc rigid; laid in chases | 900 | m |  |  | 0 | 0
in blockwork or in floor screeds
B | 2.5mm2 PVC insulated single core copper cable | 1000 | m |  |  | 0 | 0
drawn in conduit (Brown), phase cable
C | 2.5mm2 PVC insulated single core copper cable | 1000 | m |  |  | 0 | 0
drawn in conduit (Black), neutral cable
D | 2.5mm2 PVC insulated single core copper cable | 1000 | m |  |  | 0 | 0
drawn in conduit (Green/Yellow), earth cable
E | 13 Amp 2 gang switched socket outlet with UPS or Clean Power clearly marked in RED colour | 35 | No |  |  | 0 | 0
F | 13 Amp 2 gang switched socket outlet with raw power in White colour | 65 | No |  |  | 0 | 0
G | 135mm x 75mm Flush steel boxes | 100 | No |  |  | 0 | 0
Final circuits; 240V; 20A.
Hand Dryer Units
J | 20mm Diameter conduit; pvc rigid; laid in chases in | 200 | m |  |  | 0 | 0
block work or in floor screeds
K | 4mm2; Pvc insulated single core copper cable; drawn | 500 | m |  |  | 0 | 0
in conduit or ducts or laid or drawn into ducts
L | 75mm x 75mm Flush steel boxes | 6 | No. |  |  | 0 | 0
M | 4mm2; Green/yellow insulated single core copper | 250 | m |  |  | 0 | 0
cable; drawn in conduit as earth continuity
conductor
N | Flush mounted 20A DP switched fuse connection unit | 4 | No. |  |  | 0 | 0
with flex outlet and pilot lamp. Ref. MK Logic range
1070WHI.
O | Heavy duty aluminium sensor type handdryer unit | 4 | No. |  |  | 0 | 0
Final circuits; 240V; 32A.
Cooker Control Units
P | 20mm Diameter conduit; pvc rigid; laid in chases in | 60 | m |  |  | 0 | 0
block work or in floor screeds
Q | 6mm2; Pvc insulated single core copper cable; drawn | 120 | m |  |  | 0 | 0
in conduit or ducts or laid or drawn into ducts
R | 75mm x 75mm Flush steel boxes | 2 | No. |  |  | 0 | 0
S | 6mm2; Green/yellow insulated single core copper | 60 | m |  |  | 0 | 0
cable; drawn in conduit as earth continuity
conductor
T | Flush mounted 32A DP Cooker Control Unit | 1 | No. |  |  | 0 | 0
0
ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM
COLLECTION
| Page 1 | [5 empty] | 0
| Page 2 | [5 empty] | 0
| Page 3 | [5 empty] | 0
| Page 4 | [5 empty] | 0
ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM
| TO SUMMARY |  |  |  | GHS |  | 0
W: COMMUNICATION/SECURITY/CONTROL SYSTEM
W20: RADIO/ TV/ CCTV
TV OUTLETS
Supply and install the following for the TV Outlets
A | RG6 Coaxial Cable | 100 | m |  |  | 0 | 0
[6 empty] | 0 | 0
B | 4-way Splitter | 1 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
C | TV Outlets - Coaxial | 2 | No |  |  | 0 | 0
[6 empty] | 0 | 0
D | 40dB TV Digital Amplifier | 1 | No |  |  | 0 | 0
[6 empty] | 0 | 0
E | 25mm dia. PVC Conduit pipe | 100 | m |  |  | 0 | 0
VOICE AND DATA FIXTURES
Supply and install the following for the Data Network
F | Two-gang UTP CAT 6 Data/Telephone outlet | 23 | No |  |  | 0 | 0
G | 48-Port Patch Panel | 1 | No |  |  | 0 | 0
H | 48-Port POE Switch (Cisco SF300, Manageable) | 1 | No |  |  | 0 | 0
I | 27U Data Rack | 1 | No |  |  | 0 | 0
J | Patch Chords (1meter) | 46 | No |  |  | 0 | 0
K | Patch Chords (2 meter) | 46 | No |  |  | 0 | 0
L | Wireless Access point | 2 | No |  |  | 0 | 0
M | Cable Management | 1 | No |  |  | 0 | 0
N | CAT 6 UTP cable (305m) | 3 | No |  |  | 0 | 0
O | 1.5KVA UPS - Tower Type, c/w autonomy of 10mins | 1 | No |  |  | 0 | 0
P | 25mm2 pvc pipe c/w all installation accessories | 500 | m |  |  | 0 | 0
Q | Include all Accessories and other requirement to make complete installation | 1 | Lot |  |  | 0 | 0
| COMMUNICATION/SECURITY/CONTROL SYSTEM |  |  |  | Collection Ghs |  | 0
W50: FIRE DETECTION AND ALARM
FIRE DETECTION AND ALARM SYSTEM
Supply and install the following fire detection
and alarm equipment.
A | 1-Loop Conventional Fire Alarm Panel | 1 | No |  |  | 0 | 0
complete all mounting accessories
B | Smoke Detector. | 16 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
C | Heat Detector. | 1 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
D | Break glass manual call point Ref. | 4 | No. |  |  | 0 | 0
| or approved equivalent. |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
E | Electronic Sounder Ref. Gent 34202 or approved equal | 1 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
| Supply and install the following conduit |  |  |  |  | 0 | 0
| and accessories. |  |  |  |  | 0 | 0
F | Conduit boxes. | 25 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
G | Circular boxes. | 30 | No |  |  | 0 | 0
[6 empty] | 0 | 0
H | Circular boxes with cover as draw points. | 20 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
I | 75mm x 75mm Box. | 15 | No |  |  | 0 | 0
[6 empty] | 0 | 0
J | 150 x 150 x 45mm Box. | 5 | No |  |  | 0 | 0
[6 empty] | 0 | 0
K | 25mm rigid PVC conduit pipe. | 250 | m |  |  | 0 | 0
[6 empty] | 0 | 0
L | 2 x 1.5mm2 Fire performance cable (FP200). | 300 | m |  |  | 0 | 0
[6 empty] | 0 | 0
M | Spare breakglass and test keys. | 1 | No |  |  | 0 | 0
[6 empty] | 0 | 0
N | Allow for any Item not Specifically mentioned but deemed necssary for satisfactory Completion of Fire detection and alarm system | 1 | Lot |  |  | 0 | 0
i)
ii)
| COMMUNICATION/SECURITY/CONTROL SYSTEM |  |  |  | Collection Ghs |  | 0
W51 & W52: EARTHING AND LIGHTING PROTECTION
A | 35mm2 single core PVC cable, insulation colour green/yellow | 50 | m |  |  |  | 0
[6 empty] | 0 | 0
B | 1-core 25mm2 PVC cable (GREEN/YELLOW) | 50 | m |  |  | 0 | 0
[6 empty] | 0 | 0
D | Solid copper 6-way earth bar with a high impact corrosion | 2 | No. |  |  | 0 | 0
| resistant UPVC channel and single disconnecting link |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
E | 15mm diameter 1800mm long solid copper earth electrode | 2 | No. |  |  | 0 | 0
| FURSE |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
F | Cable to rod clamp | 5 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
G | HDPE Inspection Pit marked "Earth" | 2 | No. |  |  | 0 | 0
[6 empty] | 0 | 0
H | 1-core 25mm2 bare copper conductor | 50 | m |  |  | 0 | 0
[6 empty] | 0 | 0
I | Stainless steel Re-bar to conductor clip. | 5 | No |  |  | 0 | 0
| Furse |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
J | 'C'' shape connector | 5 | No |  |  | 0 | 0
[6 empty] | 0 | 0
K | Rod to cable clamp | 5 | No |  |  | 0 | 0
| FURSE |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
L | Allow for bonding to extraneous/exposed metallic parts | 1 | Lot |  |  | 0 | 0
[6 empty] | 0 | 0
M | U bolt rod clamp | 6 | No |  |  | 0 | 0
| FURSE |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
N | Allow for earth resistance measurement by specialist | 1 | Lot |  |  | 0 | 0
[6 empty] | 0 | 0
P | Denso Tape Denso Tape 100mm x 10m Rolls DENTAPE100MM | 1 | Lot |  |  | 0 | 0
[6 empty] | 0 | 0
Q | Air termination network comprising taper-pointed air rod, | 2 | No |  |  | 0 | 0
| multipole point and air terminal base, all solid copper |  |  |  |  | 0 | 0
| Furse |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
R | Exothermic Bond | 1 | lot |  |  | 0 | 0
[6 empty] | 0 | 0
S | Oxide inhibiting compound (8oz bottle) | 1 | No. |  |  | 0 | 0
| Furse |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
T | Allow for bonding conducting roof | 1 | Lot. |  |  | 0 | 0
[6 empty] | 0 | 0
U | Allow for exothermic bonding of re-bar to copper tape | 1 | Lot |  |  | 0 | 0
[6 empty] | 0 | 0
V | Miscellaneous installation materials | 1 | Lot. |  |  | 0 | 0
| COMMUNICATION/SECURITY/CONTROL SYSTEM |  |  |  | Collection Ghs |  | 0
| COLLECTION |  |  |  | From
Page
[5 empty] | EL/7 |  | 0
[5 empty] | EL/8 |  | 0
[5 empty] | EL/9 |  | 0
COMMUNICATION/SECURITY/CONTROL SYSTEM
| TO SUMMARY |  |  |  | GHS |  | 0
EXTERNAL LIGHTING
V | Allow for GHS 20,000 for overhead ECG pole extension to project site | 1 | Lot |  |  |  | 0
EXTERNAL ELECTRICAL INSTALLATIONS
| TO SUMMARY |  |  | GHS |  |  | 0
| BILL SUMMARY |  |  |  | From
Page
A | ELECTRICAL SUPPLY/ POWER LIGHTING SYSTEM |  |  |  | EH/EL/08 |  | 0
B | COMMUNICATION SYSTEM/ CONTROL/LIGHNING AND EARTHING PROTECTION |  |  |  | EH/EL/11 |  | 0
C | EXTERNAL ELECTRICAL INSTALLATIONS |  |  |  | EH/EL/13 |  | 0
| SUB-TOTAL | [5 empty] | 0
ELECTRICAL INSTALLATION
| ELECTRICAL, FIRE TO GENERAL SUMMARY |  |  |  | GHS |  | 0

## PLUMBING
BILL NO.6 - PLUMBING INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT | SUPPLY | INSTALL | TOTAL | TOTAL
|  |  |  | RATE | RATE | RATE | AMOUNT
|  | (n) |  | (b) | (b) | t = ( a+b ) | T = nt
|  |  |  | GH¢ | GH¢ | GH¢ | GH¢
1.0.0 | INTERNAL COLD/HOT WATER PIPEWORK
All pipes shall be PPR complete with accessories
1.0.1 | 25mm Diameter PPR pipe PN 16 | 57 | m |  |  | 0 | 0
1.0.2 | 20mm Diameter PPR pipe PN 16 | 45 | m |  |  | 0 | 0
1.0.3 | 25mm x 20mm PPR Reducer | 27 | No. |  |  | 0 | 0
1.0.4 | 25mm x 90° PPR Elbow | 19 | No. |  |  | 0 | 0
1.0.5 | 20mm x 90° PPR Elbow | 9 | No. |  |  | 0 | 0
1.0.6 | 25mm x ½" PPR Female Threaded 90° Elbow | 7 | No. |  |  | 0 | 0
1.0.7 | 20mm x ½" PPR Female Threaded 90° Elbow | 25 | No. |  |  | 0 | 0
1.0.8 | 25mm PPR Socket | 16.25 | No. |  |  | 0 | 0
1.0.9 | 20mm PPR Socket | 13.25 | No. |  |  | 0 | 0
1.0.10 | 25mm PPR Tee | 15 | No. |  |  | 0 | 0
1.0.11 | 20mm PPR Tee | 5 | No. |  |  | 0 | 0
1.0.12 | 25mm PPR cross over | 10 | No. |  |  | 0 | 0
1.0.13 | 20mm PPR cross over | 10 | No. |  |  | 0 | 0
1.0.14 | 25mm End plug | 15 | No. |  |  | 0 | 0
1.0.15 | 20mm End plug | 22 | No. |  |  | 0 | 0
1.0.16 | 13mm Dia. Stainless steel Flexible pipe connector | 22 | No. |  |  | 0 | 0
1.0.17 | 25mm Diameter chrome plated stop cork | 7 | No. |  |  | 0 | 0
1.0.18 | 13mm Diameter Chrome plated | 22 | No. |  |  | 0 | 0
Angle Valve
1.0.19 | 19mm Diameter Stand Tap Complete | 3 | No. |  |  | 0 | 0
1.0.20 | PPR Assemblying assessories and all other material |  | lot |  |  | 0 | 0
complete installation
| Sub-total carried to collection |  |  |  |  | GHC | 0
Internal cold water pipework
2.0.0 | SOIL & WASTE PIPEWORK
2.0.1 | 100mm Diameter pipe (Class B) | 7 | Lgths |  |  | 0 | 0
2.0.2 | 50mm Diameter pipe (Class C) | 9 | Lgths |  |  | 0 | 0
2.0.3 | 32mm Diameter pipe (Class C) | 1 | Lgths |  |  | 0 | 0
2.0.4 | 100mm Diameter Pan Connector | 10 | No. |  |  | 0 | 0
2.0.5 | 100mm x 45° elbow | 11 | No. |  |  | 0 | 0
2.0.6 | 50mm x 45° Bend | 15 | No. |  |  | 0 | 0
2.0.7 | 100mm x 90° elbow | 9 | No. |  |  | 0 | 0
2.0.8 | 50mm x 90° Bend | 21 | No. |  |  | 0 | 0
2.0.9 | 50mm x 50mm x 50mm sweep Tee | 5 | No. |  |  | 0 | 0
2.0.10 | 50mm x 50mm x 50mm Y Tee | 5 | No. |  |  | 0 | 0
2.0.11 | 50mm to 32mm Bushing | 11 | No. |  |  | 0 | 0
2.0.12 | 50mm Diameter Floor Gully | 8 | No. |  |  | 0 | 0
2.0.13 | Plumbing Porty & miscellaneous materials required | 1 | Lot |  |  | 0 | 0
2.0.14 | ERA Glue/ S100 Glue and adhesive to install | 4 | Tins |  |  | 0 | 0
UPVC pipes
| Sub-total carried to collection |  |  |  |  | GHC | 0
Soil & waste pipework
3.0.0 | SANITARY APPLIANCES
All Sanitary Appliances shall be Ideal Standard
or approved equal
3.0.1 | Water Closet "S" or "P" Trap water closet cistern of 7.5litres | 5 | No. |  |  | 0 | 0
capacity for side supply and overflow with freeflo plastics syphon fitting
and ½" micro valve HP/LP side supply ball valve ¾" side overflow complete with dual flush
, simpla inlet connector and supports.
CP Lever
Gemini seat and cover
Domex screws
Panekta connectors
3.0.2 | Water Closet "S" or "P" Trap water closet cistern of 7.5litres | 1 | No. |  |  | 0 | 0
capacity for side supply and overflow with freeflo plastics syphon fitting
and ½" micro valve HP/LP side supply ball valve ¾" side overflow complete with dual flush
, simpla inlet connector and supports.
CP Lever
Gemini seat and cover
Domex screws
Panekta connectors
complete with disabled accessories
3.0.3 | Wash basin with a central, taphole overflow and chainhole | 5 | No. |  |  | 0 | 0
½" single flow monoblock fitting with swivel nozzel and chain
Concealed with swivel nozzle waste 1¼" plastics bottle
trap with 75mm seal bracket with fixing clamps c/w center waste bracket
in aluminium alloy complete with push to flush valve
3.0.4 | Wash basin with a central, taphole overflow and chainhole | 1 | No. |  |  | 0 | 0
½" single flow monoblock fitting with swivel nozzel and chain
Concealed with swivel nozzle waste 1¼" plastics bottle
trap with 75mm seal bracket with fixing clamps c/w center waste bracket
in aluminium alloy complete with infra red sensor valves complete
complete with disabled accessories
3.0.5 | Urinal bowl complete with waste trap and push | 2 | No. |  |  | 0 | 0
valves
3.0.6 | Single Bowl, Single Drainer Stainless Steel SINK 1½'' strainer waste | 1 | No. |  |  | 0 | 0
slotted tail plastic bottle trap with 75mm seal,
stainless steel leg and aluminium alloy bearers,
½'' wall mounted angle valve with high rise
3.0.7 | Glass Mirror Frame to be of vitrous china. Glass to be 4mm thick, 800mm diameter concealed hangers, white colour. | 6 | No. |  |  | 0 | 0
3.0.8 | Toilet Roll Holder, chromiun plated | 6 | No. |  |  | 0 | 0
3.0.9 | Toilet brush | 6 | No. |  |  | 0 | 0
3.0.11 | Soap dispenser | 6 | No. |  |  | 0 | 0
3.0.12 | Paper towel dispenser | 6 | No. |  |  | 0 | 0
3.0.13 | Plumbing Porty & other miscellanerous materials | 1 | Lot |  |  | 0 | 0
| Sub-total carried to collection |  |  |  |  | GHC | 0
Sanitary appliances
4.0.0 | EXTERNAL WORKS
COLD WATER PIPEWORK
4.0.1 | 32mm Diameter PPR pipe PN 16 | 105 | m |  |  | 0 | 0
4.0.2 | 25mm Diameter PPR pipe PN 16 | 40 | m |  |  | 0 | 0
4.0.3 | 20mm Diameter PPR pipe PN 16 | 10 | m |  |  | 0 | 0
4.0.4 | 32mm x 25mm PPR Reducer | 10 | No. |  |  | 0 | 0
4.0.5 | 25mm x 20mm PPR Reducer | 5 | No. |  |  | 0 | 0
4.0.6 | 32mm x 90° PPR Elbow | 15 | No. |  |  | 0 | 0
4.0.7 | 25mm x 90° PPR Elbow | 13 | No. |  |  | 0 | 0
4.0.8 | 20mm x 90° PPR Elbow | 5 | No. |  |  | 0 | 0
4.0.9 | 25mm x ½" PPR Female Threaded 90° Elbow | 5 | No. |  |  | 0 | 0
4.0.10 | 20mm x ½" PPR Female Threaded 90° Elbow | 6 | No. |  |  | 0 | 0
4.0.11 | 32mm PPR Socket | 26.25 | No. |  |  | 0 | 0
4.0.12 | 25mm PPR Socket | 12 | No. |  |  | 0 | 0
4.0.13 | 20mm PPR Socket | 4.5 | No. |  |  | 0 | 0
4.0.14 | 32mm PPR Tee | 10 | No. |  |  | 0 | 0
4.0.15 | 25mm PPR Tee | 5 | No. |  |  | 0 | 0
4.0.16 | Water storage tank (manufactured in Ghana) | 2 | Set |  |  | 0 | 0
4,500 Litres complete with all accessories
4.0.17 | Water storage tank (manufactured in Ghana) | 2 | Set |  |  | 0 | 0
2,500 Litres complete with all accessories
4.0.18 | 32mm Diameter pipe Ball Valve | 2 | No. |  |  | 0 | 0
4.0.19 | Automatic transfer pump set complete with | 1 | Set |  |  | 0 | 0
pressure gauge, pressure switches and/or
membrane vessel, gate and non return valves.
It shall be mounted on a base plate with an
isolator and shall have an automatic control operation:
The capacity of the pump shall be determined at site
a. Flow Rate- 2.5Litres/sec.
b. Total Head-30m
Pumps shall be operated with a float switch in-
corporated into the Ground Storage Tanks
tanks. (Duty & standby pump set)
DAB or GRUNDFOS
4.0.20 | 32mm Diameter Gate Valve complete with socket | 8 | No. |  |  | 0 | 0
4.0.21 | 25mm Diameter Gate Valve complete with socket | 5 | No. |  |  | 0 | 0
4.0.22 | 32mm Diameter Non Return Valve complete with socket | 2 | No. |  |  | 0 | 0
4.0.23 | 20mm Diameter stand pipe | 3 | No. |  |  | 0 | 0
4.0.24 | Excavate 600mm deep x 450mm wide trench. The | 18.9 | m3 |  |  | 0 | 0
bottom of the trench shall be covered with 100mm thick
layer of fine silted and salt free sand before laying the
pipe. The pipe shall then be covered with 100mm thick
layer of fine silted and salt free sand backfilling for
Cold water pipes.
| Sub-total carried to Summary |  |  |  |  | GHC | 0
External works- cold water pipework
4.1.0 | SEWAGE PIPEWORK
4.1.1 | 100mm Diameter pipe (Class B) | 16 | Lgths |  |  | 0 | 0
4.1.2 | 75mm Diameter pipe (Class C) | 7.5 | Lgths |  |  | 0 | 0
4.1.3 | 100mm x 45° elbow | 15 | No. |  |  | 0 | 0
4.1.4 | 75mm x 45° elbow | 5 | No. |  |  | 0 | 0
4.1.5 | 100mm x 90° elbow | 5 | No. |  |  | 0 | 0
4.1.6 | 100mm x 100mm x 100mm Y Tee | 15 | No. |  |  | 0 | 0
4.1.7 | 75mm x 75mm x 75mm Y Tee | 7 | No. |  |  | 0 | 0
4.1.8 | 100mm to 75mm Bushing | 7 | No. |  |  | 0 | 0
4.1.9 | 100mm to 50mm Bushing | 10 | No. |  |  | 0 | 0
4.1.10 | 75mm to 50mm Bushing | 5 | No. |  |  | 0 | 0
4.1.11 | 100mm Diameter Vent Cap | 2 | No. |  |  | 0 | 0
4.1.12 | 50mm Diameter Vent Cap | 2 | No. |  |  | 0 | 0
4.1.13 | ERA Glue/ S100 Glue and adhesive to install | 6 | Tins |  |  | 0 | 0
UPVC pipes
4.1.14 | Excavate 1000mm deep x 450mm wide trench. The | 64.8 | m |  |  | 0 | 0
bottom of the trench shall be covered with 150mm thick
layer of fine silted and salt free sand before laying the
pipe. The pipe shall then be covered with 150mm thick
layer of fine silted and salt free sand before backfilling
for soil & waste pipes.
4.1.15 | 100mm diameter high impact clean out | 10 | No. |  |  | 0 | 0
4.1.16 | 75mm diameter high impact clean out | 5 | No. |  |  | 0 | 0
| Sub-total carried to Summary |  |  |  |  | GHC | 0
External works- Sewage pipework
SUMMARY
ACTUAL COST OF WORKS
| INTERNAL COLD WATER PIPEWORK | [5 empty] | 0
| INTERNAL SOIL & WASTE PIPEWORK | [5 empty] | 0
| SANITARY APPLIANCES | [5 empty] | 0
EXTERNAL WORKS
| COLD WATER PIPEWORK | [5 empty] | 0
| SEWAGE PIPEWORK | [5 empty] | 0
SUB-TOTAL
ACTUAL COST OF WORKS
| CARRIED TO BILL SUMMARY |  |  |  |  | GHC | 0
BILL SUMMARY
| ACTUAL COST OF WORKS | [5 empty] | 0
| ALLOW FOR AS-INSTALLED DRAWINGS/MANUALS(1SET) | 1 | Lot |  |  |  | 0
| ALLOW FOR PRESSURE TESTING | 1 | Lot |  |  |  | 0
BILL NO.6 PLUMBING INSTALLATION
| CARRIED TO GENERAL SUMMARY |  |  |  |  | GHC | 0

## GRID TIED SOLAR SYSTEM
BILL NO.7 - GRID TIED SOLAR SYSTEM
Item | Description | Qty | Unit | Rate | Amount
GHC
GRID TIED SOLAR SYSTEM
| Allow a provisional sum of Two Hundered and Twenty Thousand Ghana Cedi (GHC 220,000.00) for the supply and installation of Grid Tied Solar Power System by a Nominated Sub-Contractor | 1 | P.sum |  | 0
| Add for General Attendance | 10% | % |  | 0
BILL NO.9 - GRID TIED SOLAR SYSTEM
| Carried To General Summary |  |  |  | 0

## MECHANICAL
BILL NO.8 - MECHANICAL INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT | SUPPLY | INSTALL | TOTAL | TOTAL
|  |  |  | RATE | RATE | RATE | AMOUNT
|  | (n) |  | (b) | (b) | t = ( a+b ) | T = nt
|  |  |  | GH¢ | GH¢ | GH¢ | GH¢
1.0.0 | AIR-CONDITIONING UNIT
All air conditioner units shall be Midea, Daikin Inverter or
or approved equal with R410a refrigerant compliant
Energy efficient rating (3 star minimum),Tropical Climate class
Low decibel noise level rating
High Wall Unit
1.0.1 | 12,000 Btu/h(3.6kW) | 9 | No |  |  | 0 | 0
1.0.2 | 18,000 Btu/h(7.1kW) | 2 | No |  |  | 0 | 0
1.0.3 | 24,000 Btu/h(7.1kW) | 3 | No |  |  | 0 | 0
1.1.0 | REFRIGERANT PIPING & ACCESSORIES
Supply and install in the location shown on the
tender drawing and in accordance with the specifications,
1.1.1 | 15.9mm diameter copper pipe | 100 | m |  |  | 0 | 0
1.1.2 | 12.7mm diameter copper pipe | 65 | m |  |  | 0 | 0
1.1.3 | 9.5mm diameter copper pipe | 140 | m |  |  | 0 | 0
1.1.4 | 6.4mm diameter copper pipe | 90 | m |  |  | 0 | 0
1.1.5 | 15.9mm diameter Armaflex x 19mm thickness | 55 | No |  |  | 0 | 0
1.1.6 | 12.7mm diameter Armaflex x 19mm thickness | 40 | No |  |  | 0 | 0
1.1.7 | 9.5mm diameter Armaflex x 19mm thickness | 75 | No |  |  | 0 | 0
1.1.8 | 6.4mm diameter Armaflex x 19mm thickness | 50 | No |  |  | 0 | 0
1.1.9 | Refrigerant gas cylinder for charging of units (R410) | 1 | lot |  |  | 0 | 0
1.1.10 | Mounting bracket | 13 | No. |  |  | 0 | 0
1.1.11 | Miscellaneous materials to include cutting disc | 1 | Lots |  |  | 0 | 0
and other tools to complete works. Inckudes insulation
tape and glue for armaflex pipes
1.2.0 | ELECTRICAL INSTALLATION
Supply and install as shown on contract drawings
and in accordance with specifications the following
1.2.1 | 2.5mm2 Copper Core PVC - Insulated, PVC - Sheathed
| metal shielded in 100m/coil standard length. | 5 | coil |  |  | 0 | 0
1.2.2 | 3 x 4.0mm 2 PVC insulated, insulated copper
| cable in 100m/Coil standard length. | 5 | Coil |  |  | 0 | 0
1.2.3 | 20mm dia. Electrical conduit pipe, bends, boxes, | 1 | lot |  |  | 0 | 0
conduit accessories, jointing etc
1.3.0 | CONDENSATE PIPEWORK
Supply and install as shown on contract drawings
and in accordance with specifications the following
1.3.1 | 19mm diameter PVC Class 'E' pipe in 6.0m
| standard length | 30 | length |  |  | 0 | 0
[6 empty] | 0 | 0
1.3.2 | 19mm diameter PVC bend | 50 | No |  |  | 0 | 0
[6 empty] | 0 | 0
1.3.3 | S100 Glue to install pipes | 3 | No. |  |  | 0 | 0
| Carried to Summary |  |  |  |  | GHC | 0
BILL SUMMARY | [5 empty] | GH¢
| ACTUAL COST OF WORKS |  |  |  |  | #REF! | 0
| ALLOW FOR AS-INSTALLED DRAWINGS/MANUALS(1SET) | 1 | Lot |  |  |  | 0
| BILL NO.3 MECHNANICAL INSTALLATION |  |  |  |  | GHC | 0
CARRIED TO GENERAL SUMMARY

## FIRE-FIGHTING
BILL NO.9 - FIRE FIGHTING INSTALLATION
Item | Description | Qty | Unit | Rate | Amount
GHC
FIRE FIGHTING INSTALLATION
PORTABLE FIRE EXTINGUISHERS
A | 9kg ABC dry powder fire
extinguisher to BS 5423.
Squeeze grip controllable
discharge hose mode complete
with carbon dioxide cartridge,
6kg ABC powder pack, operating
| instruction lable and wall bracket. | 6 | No |  | 0
B | Carbon dioxide fire extinguisher
Capacity 9kg with hose and horn.
| Cost to include fixing bracket | 6 | No |  | 0
C | Miscellaneous installation items and consumables. |  | Lot. |  | 0
FIRE FIGHTING INTSTALLATION
| CARRIED TO GENERAL SUMMARY |  |  | GHC | 0

## EXTERNAL PAVING & GRASSING
BILL NO.10 - EXTERNAL PAVING & GRASSING
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT
EXTERNAL WORKS
A | Include a provisional sum of Thirty Thousand Ghana Cedi (GHC 30,000.00) for the construction of Drains |  | P. sum |  | 0
B | Include a provisional sum of Seventy Five Thousand Ghana Cedi (GHC 75,000.00) for the construction of Sustainable Bio-digester |  | P. sum |  | 0
C | Supply and Spreading of topsiol and manure including planting of lawn, flowers and 3months maintenance | 450 | m2 |  | 0
RAMP AND STEPS
E10.IN SITU CONCRETE
Plain in-situ vibrated concrete (1:3:6 - 20mm machine crushed aggregate ) as described in;
D | Ramp and steps | 2 | m3 |  | 0
Formwork
Sawn formwork to :
E | Sides of ramp and step | 10 | m2 |  | 0
M10 - SAND CEMENT / CONCRETE / GRANOLITHIC / SCREEDS / FLOORING
Cement and sand mix (1:3)
F | 40mm Thick Screed to make up levels to receive tiles (m/s) | 24 | m2 |  | 0
M.40 - Stone/Concrete/ Quarry/Ceramic tiling/Mosaic
Non - Polished porcelain tiling, 600x600x10mm thick from KIMO or approved equal fixed to rendered wall with approved adhesive and pointed in approved grout.
G | ramp and steps | 24 | m2 |  | 0
L31.METAL STAIRS/WALKWAYS/BALUSTRADES
H | Supply and fix galvanised steel fabricated balustrades per architects instructions | 11 | m |  | 0
I | Supply and install external free standing metal emergency staircase according to Consultants' specification for the Provisional Sum of One Hundret and Fifty Thousand Ghana Cedi (GhC150,000.00) |  | P.Sum |  | 0
|  |  |  | B/F | 0
|  |  |  | C/F | 0
PAVEMENT
A | Blading to level surface in preparation for filling works | 330 | m2 |  | 0
B | Filling and compaction to make up levels, average thickness not exceeding 0.20m granular material obtained off site | 120 | m3 |  | 0
C | 200 x 100 x 80mm thick natural colour precast paving blocks ( 30N/mm2) bedded and jointed and including 50mm bed of approved sharp sand | 330 | m2 |  | 0
D | 350 micron black polythene sheeting underlay | 330 | m2 |  | 0
E | Provide and plant green grass and flowers as per Engineer's instructions | 450 | m2 |  | 0
F | Provide and spread chipping as per Engineer's instructions | 330 | m2 |  | 0
KERB WORKS
G | 170 x 350mm Precast concrete designed mix C30, 20mm aggregate as described splayed kerb in 900mm lengths finished fair on all exposed surfaces bedded, jointed and pointed in cement mortar (1:4) as described | 95 | m |  | 0
H | Haunching of kerbs and edges of pavings and Lawns. | 10 | m3 |  | 0
BILL NO.11 -EXTERNAL WORKS
| Carried To General Summary |  |  | GHC | 0

## FENCE WALL
BILL NO.11 - FENCE WALL
Item | Description | Qty | Unit | Rate | Total (GH¢)
FENCE WALL
Excavation
A | Excavate trench for foundation over 300mm wide commencing at formation level and maximum depth not exceeding 1.00m | 60 | m³ |  | 0
B | Extra over all kinds of excavation for excavating in pit | 7 | m³ |  | 0
C | Selected excavated material backfill around foundations | 38 | m³ |  | 0
D | Remove surplus excavated material from site | 24 | m³ |  | 0
…............
E | Treat all surface of excavation and filling with anti-termite before laying concrete | 150 | m² |  | 0
E: IN-SITU CONCRETE/LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING IN-SITU CONCRETE
F | Plain concrete designed mix C10, 25mm aggregate in blinding not exceeding 150mm thick | 2.8 | m³ |  | 0
Reinforced In-Situ Vibrated Concrete (Grade 30) As Described Filled Into Formwork And Around Reinforcement (Both Measured Separately) In:
|  | 5.2 | m³ |  | 0
G | Foundation
H | Column | 2.8 | m³ |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Sawn Formwork To:
J | Vertical side of foundation | 30 | m² |  | 0
K | Vertical side of column | 52 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
High Tensile Bars
L | 16mm Diameter bar in foundation | 3100 | kg |  | 0
M | 12mm Diameter bar do | 2800 | kg |  | 0
N | 16mm Diameter bar in column | 1400 | kg |  | 0
P | 10mm Diameter bar in stirrups | 1900 | kg |  | 0
|  |  |  | GHC | 0
E50: PRECAST CONCRETE FRAME STRUCTURES
Coping
Q | Coping size 225 x 50mm (Average) including throating on both sides | 275 | m |  | 0
F: MASONRY
F10: BRICK/BLOCK WALLING
R | 150mm Solid sandcrete blockwall in cement mortar (1:4) as described in wall | 400 | m² |  | 0
J: WATERPROOFING
J30: LIQUID APPLIED TANKING/DAMP PROOFING
S | Prepare wall surfaces and apply water-proofing paint to external foundation walls | 45 | m² |  | 0
M: SURFACE FINISHES
M20: PLASTERED / RENDERED / ROUGHCAST COATINGS
In-Situ Finishings
20mm External Cement And Sand (1:3) Smooth Render As Described On Concrete And Blockwork
T | Wall over 300mm wide | 400 | m² |  | 0
U | Wall not exceeding 300mm wide | 30 | m² |  | 0
M60: PAINTING / CLEAR FINISHING
V | Prepare and apply two coats of "CORAL Weather Shield" acrylic emulsion paint as described or approved equal on rendered wall | 400 | m² |  | 0
W | Allow a provisional sum of Thirty Five Thousand Ghana Cedi ( GHC 35,000) for metal entrace gate. |  | P. sum |  | 0
X | Allow a provisional sum of Fifteen Thousand Ghana Cedi (GHC 15,000) for burgerlur proof designs fixed into walls to allow for ventillation. |  | P. sum |  | 0
| Carried To Summary |  |  | GHC | 0
SUMMARY
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
BILL NO.11 -FENCE WALL
| Carried To General Summary |  |  | GHC | 0