## Bid Price Form
COMPANY LOGO
PRICE SCHEDULE FORM
Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.
Ref. Tender No: 10019816
| Supplier Name : |  |  |  |  | Quotation/Ref #:
| Supplier Address : |  |  |  |  | Date :
|  | Area Code, City: |  |  |  | Incoterm:
Telephone:
Email:
| No. | Item Description | Specification | Quantity | Unit | Unit price (IDR) | Total amount (IDR)
| A. | Solar PV system | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form) |  |  |  | 0
| 1 | PV Modules |  | 84.65 | kWp |  | 0
| 2 | PV Inverters |  | 3 | Pcs
| B. | Battery Energy Storage System (BESS) | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form) |  |  |  | 0
| 3 | Battery LFP packs including the EMS |  | 150 | kWh
| 4 | Battery Inverter |  | 1 | lot |  | 0
| 5 | Inverter AC combiner box |  | 1 | set
| 6 | Automatic transfer switch system |  | 1 | set
| 7 | Comunication accessories |  | 1 | set
| C | PV mounting (Building and Canopy Baywak) | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form) |  |  |  | 0
| 8 | PV Mounting - Rooftop PV mounting structure |  | 1 | lot
| 9 | PV Mounting - Canopy PV mounting structure |  | 1 | lot
| D | Electrical BOS Component | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form)
| 10 | BOS Electrical - PV DC Cable |  | 1 | lot
| 11 | BOS Electrical - Battery DC Cable |  | 1 | lot
| 12 | BOS Electrical - AC Cable |  | 1 | lot
| 13 | BOS Electrical - Communication Cable |  | 1 | lot
| 14 | BOS Electrical - Cable tray |  | 1 | lot
| 15 | BOS Electrical - Cable conduit |  | 1 | lot
| 16 | BOS Electrical - Electrical BOS, and cable accessories |  | 1 | lot
| 17 | BOS Electrical - Earthing and lightning system |  | 1 | set
| 18 | PV Inverter AC Combiner panel - |  | 1 | set
| 19 | Battery DC Combiner panel |  | 1 | set
| 20 | Main distribution panel |  | 1 | set
| 21 | Communciation interface panel and CCTV |  | 1 | set
| E | Monitoring and Control system | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form)
| 22 | Monitoring - Control and monitoring system |  | 1 | set
| 23 | Monitoring - Weather sensor |  | 1 | set
| 24 | Monitoring - Revenue meter |  | 1 | set
| 25 | Monitoring - Energy meter |  | 1 | set
| F | Civil, structural, and mechanical works | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form)
| 26 | Civil works - Power house |  | 1 | set
| 27 | Civil works - Building roof enhancement |  | 1 | lot
| 28 | Civil works |  | 1 | lot
| 29 | Cleaning System - Water cleaning system |  | 1 | set
| G | Spare parts | the specification as stipulated in the Technical Specification Form (as integral part of this Bid Price Form)
| 30 | O&M - Spare part |  | 1 | lot
Total Component (A-G)
| H | EPC Service Cost
| 31 | Construction |  | 1 | lot
| 32 | Procurement & Logistic |  | 1 | lot
| 33 | O&M (Preventive maintenance) |  | 1 | lot
Total Service
| Sub Total | [5 empty] | 0
| Note : The Value Added Tax of 11% will be exempted |  | VAT 11% |  |  |  | 0
| TOTAL | [5 empty] | 0
Terms and Conditions :
1. All prices/rates quoted must be exclusive of all taxes, since the GIZ, including its subsidiary organs, is exempt from taxes.
2. GIZ shall process the VAT with tax restitution (040) to BADORA.
3. This bid price form must be protected with password to secure your bid price proposal.
4. Please make sure to save the password. The change of password may cause your bid will not be considered.
5. The price shall be valid for 30 days commencing on the date of submission of quotation
6. The price shall include the packaging, loading and unloading costs, freight and insurance costs up to the delivery address.
7. Self Declaration of Annex 3 and Annex 4 shall be signed and attached with the tender documents
8. General Terms of conditions as Annex 6 of this Bid Form
I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should GIZ accept this quotation:
| Name |  | : |  |  | Bank Account:
[6 empty] | Name | :
| Title |  | :
[6 empty] | Bank Name | :
| Date |  | :
[6 empty] | Account | :
| Signature and Company Stamp |  | :