| Development of a programme of measures to enhance the resilience of water supply and sanitation systems and of recommendations for the development of emergency action plans for power supply to critical infrastructure within the WASSER project areas in Ukraine | Project number/ cost centre: G-012624-002 |
| --- | --- |

Terms of reference

0. List of abbreviations

LPA		Local Public Authority

WSS		Water Supply and Sanitation

O&M		Operation and Maintenance

ToR		Terms of Reference

M&E		Monitoring and Evaluation

DSNS		State Emergency Service of Ukraine

QGIS		Free and open-source geographic information system

WP		Working Package

- Context

The “Support in mitigating war-related impacts for water supply and sanitation in the border region of Moldova and Ukraine” (WASSER) project is funded by the Federal Ministry for Foreign Affairs (AA) and is implemented by the Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH. The Project aims to enhance the capacity of authorities and municipalities in a selected project region along the Ukraine-Moldova border to effectively manage crisis situations in water supply and wastewater services. The target group for the project is the residents of communities within the indicated border region.

The project approach is specially to strengthen capacities for crisis management in the WSS sector. Thereby, the emphasis is on the capacity development on the levels of individuals, organisations, and society. The project period is from 01/2025 to 12/2027 (3 years).

The main areas of intervention include Output 1: Provision of basic information on maintaining water supply and wastewater management in crises; Output 2: Preparation of measures for stabilizing WSS in crises across border; Output 3: Enhanced staff qualifications for WSS in crises; Output 4: Gender-responsive measures for raising awareness on drinking water crises; Output 5: Strengthened cross-border exchange on crisis prevention in WSS.

The ongoing war in Ukraine has severely affected critical infrastructure, particularly in the regions bordering the russian federation. WSS systems are highly dependent on stable electricity supply for pumping, treatment, and distribution processes. Frequent power outages and damage to energy infrastructure pose significant risks to public health, environmental safety, and service continuity.

In this context, there is an urgent need to enhance the resilience of critical WSS infrastructure with regard to power supply and to prepare municipalities and WSS operators for the development of their own emergency action plans for the targeted hromadas of Ukraine.

With financial support from the Government of Germany, within the framework of the WASSER project a 2-phased Baseline Study was carried out in 2025 in order to assess WSS infrastructure in the Moldova–Ukraine border area of the Dniester basin in order to identify the optimal project implementation area and define the key technical, institutional, and operational conditions for project implementation. The selected area was identified, and it consists of Yampil and Mohyliv-Podilskyi hromadas in Vinnytsia oblast and Sokyriany hromada in Chernivtsi oblast, along with the Dniester river.

In the context of implementing the Output 2 (as written above), measure 2.1 “Development of an emergency plan for ensuring the supply of electricity to critical infrastructure” – GIZ intends to hire a contractor to develop a practical, actionable, and context-specific programme of measures aimed at increasing the resilience of WSS systems during military actions, together with detailed recommendations on the development of emergency action plans and geospatial tools (QGIS scripts) that will enable the beneficiaries to develop their own emergency action plans, as described below.

- Tasks to be performed by the contractor

The contractor shall be responsible for confirming beneficiary entities, including Local Public Authorities (LPAs) and WSS operators, as well as the infrastructure covered under the assignment. The contractor shall define minimum service levels required for crisis-mode operation of WSS systems, conduct load inventory and prioritization for critical facilities and equipment necessary to maintain essential services, assess existing power supply gaps, and develop appropriate backup power supply options for critical infrastructure.

Based on the results of the assessment, the contractor shall develop a programme of measures aimed at increasing the resilience of WSS systems during military actions, including an indicative cost estimate, the proposed sequence of implementation of works, and possible sources of financing.

The contractor shall also prepare detailed recommendations on the development of emergency action plans by LPAs and WSS operators (without indicating any restricted-access data) and shall develop the necessary geospatial tools (QGIS scripts), including training of the beneficiaries’ personnel in their use.

The assignment shall include collecting and reviewing of existing local emergency plans/guidelines, an analysis of challenges as well as of best practices of other Ukrainian municipalities and of relevant international experience.

The assignment shall be carried out on the basis of openly available information and of data provided by the beneficiaries without access restrictions; no restricted-access data shall be included in the deliverables.

Particular attention shall be given to ensuring continuity of minimum essential services, protection of public health, inter-institutional coordination, and practical applicability of the proposed measures at local and inter-communal levels.

  - Tasks

The contractor is responsible for providing the following work:

WP 1. Analysis of Existing Documentation, Risk Assessment and Infrastructure Assessment

### 1.1. Analysis of Existing Documentation and Assessment of the Current Situation

- collection and analysis of existing emergency response plans, civil protection plans, procedures for actions in emergency situations, and other relevant documents of municipalities and WSS utilities (to the extent that they are openly accessible);

- analysis of the existing coordination mechanisms with the State Emergency Service of Ukraine (DSNS);

- assessment of existing technical, organizational, and operational capacities;

- identification of gaps in service continuity arrangements relevant for the justification of the proposed measures.

### 1.2. Risk Assessment for the Justification of Measures

- compilation of a list of key risks for critical WSS infrastructure: prolonged power outages; damage to energy infrastructure; failures or destruction of pumping stations and networks; crisis situations related to military actions;

- assessment of the dependency of WSS facilities on electricity supply;

- ranking of the identified risks according to their impact on service provision, justification and prioritization of the proposed measures.

### 1.3. Assessment of Critical WSS Infrastructure and its Power Supply

- definition of minimum service levels required for crisis-mode operation of WSS systems;

- load inventory and prioritization for critical facilities and equipment necessary to maintain essential services;

- assessment of existing power supply gaps of critical WSS facilities;

- where necessary and subject to the availability of data – preliminary assessment (based on expert judgement and/or GIS analysis) of the areas expected to be affected by the shutdown (destruction) of individual pumping stations.

WP 2. Development of the Draft Programme of Resilience Measures and of the Draft Recommendations on Emergency Planning

### 2.1. Development of the Draft Programme of Measures

In cooperation with representatives of DSNS, local self-government authorities, water utilities, and other stakeholders, the Contractor shall ensure:

- development of a programme of technical and organizational measures aimed at increasing the resilience of WSS systems during military actions, for each target hromada and/or WSS utility;

- preparation of recommendations on backup power supply and alternative solutions to maintain the functionality of WSS infrastructure;

- indicative cost estimate of the proposed measures;

- definition of the proposed sequence and priority of implementation of the measures;

- identification of possible sources of financing of the proposed measures.

### 2.2. Preparation of the Draft Recommendations on the Development of Emergency Action Plans and of Geospatial Tools

- preparation of detailed methodological recommendations on the structure, content, and procedure for the development of emergency action plans by LPAs and WSS operators, without indicating any restricted-access data;

- recommendations on the definition of roles and responsibilities of stakeholders, coordination mechanisms with DSNS, and information, communication, and notification procedures, as guidance for the future plans;

- development of geospatial tools (QGIS scripts) with user documentation to support the beneficiaries’ personnel in developing such plans (e.g., mapping of critical facilities, service areas, and areas affected by outages).

WP 3. Consultations and Workshop

- organization and facilitation of at least one working online meeting with representatives of each hromadas, water utilities, DSNS, and other stakeholders;

- conducting consultations related to the draft programme of measures and the draft recommendations;

- conducting an offline workshop with presentation and discussion of the draft documents and proposed measures, including a practical training session for the beneficiaries’ personnel on the use of the geospatial tools (QGIS scripts);

- incorporation of comments and recommendations provided by stakeholders.

WP 4. Preparation of Final Documents

- revision and finalization of the programme of measures and of the recommendations on the development of emergency action plans;

- finalization of the QGIS scripts and of the related user guidance;

- preparation of concise practical recommendations and guidance for users of the deliverables;

- submission of the final package of documents to the Contracting Authority in electronic format.

| Milestones/partial works | Anticipated deadline/place/person responsible | Criteria for acceptance |
| --- | --- | --- |
| Implementation of activities in accordance with WP 1 | Within one month after signing the contract / electronic submission / Contractor | The methodology, work plan and stakeholder mapping are developed, the scope is confirmed. The analysis of existing documentation and the risk assessment with justification of the proposed measures are conducted, minimum service levels are defined, the load inventory and the power supply gap analysis and, where data is available are conducted, a preliminary assessment of the areas affected by the shutdown of individual pumping stations is made. |
| Implementation of activities in accordance with WP 2 | Within two months after signing the contract / electronic submission / Contractor | The draft programme of measures (incl. indicative cost estimate, sequence of implementation, possible sources of financing), the draft recommendations on the development of emergency action plans, and the working versions of the QGIS scripts are developed and approved with GIZ |
| Implementation of activities in accordance with WP 3 | Within three months after signing the contract / Vinnytsia / Contractor | The offline workshop with presentation and discussion of the draft documents and a practical training session on the use of the QGIS tools is conducted; comments and recommendations of stakeholders must be noted/recorded. The Contractor is responsible for organising and facilitating the workshop in Vinnytsia, including renting the premises and providing catering for up to 35 participants (duration: up to 8 hours). |
| Implementation of activities in accordance with WP 4 | By 31st of December 2026 / electronic submission / Contractor | The final programme of measures, the final recommendations on the development of emergency action plans, and the final QGIS scripts with user guidance, incorporating stakeholder feedback are submitted and approved with GIZ |

Period of assignment is from 14.09.2026 till 31.03.2027.

  - Deliverables and Reporting:

The Contractor will be responsible for the following:

| # | Reporting/Deliverable | Requirements to the format | Anticipated period, by |
| --- | --- | --- | --- |
| 1 | Inception Report (in accordance with WP 1) | Analytical report (Ukrainian and English, PDF and Word format) with detailed methodology, work plan, stakeholder mapping, confirmed scope, up to 30 pages. | Within one month after signing the contract |
| 2 | Assessment Report (in accordance with WP 1) | Analytical report (Ukrainian and English, PDF and Word format) with collection and review report of existing emergency plans, procedures, and guidelines; risk assessment with justification of the proposed measures; minimum service levels; load inventory and prioritization sheets for critical facilities; power supply gap analysis; preliminary assessment of the areas affected by the shutdown (destruction) of individual pumping stations (where data is available); stakeholder consultation summary; up to 30 pages. | Within one month after signing the contract |
| 3 | Draft Programme of Resilience Measures and Draft Recommendations on Emergency Planning (in accordance with WP 2) | Draft programme of measures aimed at increasing the resilience of WSS systems during military actions (incl. indicative cost estimate, sequence of implementation of works, possible sources of financing); draft detailed recommendations on the development of emergency action plans (without indicating any restricted-access data); working versions of the geospatial tools (QGIS scripts); Ukrainian language, PDF and Word format, up to 50 pages overall. | Within two months after signing the contract |
| 4 | Workshop Report (in accordance with WP 3) | Report (Ukrainian and English language, PDF and Word format) with the results of the workshop and of the practical training session on the QGIS tools; comments and recommendations of stakeholders and corrective actions are noted/recorded and presented; up to 50 pages. | Within three months after signing the contract |
| 5 | Final Package of Documents (in accordance with WP 4) | Final programme of measures; final recommendations on the development of emergency action plans; final QGIS scripts with user guidance; incorporating stakeholder feedback. Ukrainian and English languages, Word and PDF format, up to 60 pages. | by 31st of December 2026 |

- Concept (technical-methodological design)

In the bid, the tenderer is required to show how the objectives defined in Chapter 2 (Tasks to be performed) are to be achieved, if applicable under consideration of further method-related requirements (technical-methodological concept). In addition, the tenderer must describe the project management system for service provision.

Note: The numbers in parentheses correspond to the lines of the technical assessment grid.

## Technical-methodological concept

Strategy (1.1): The tenderer is required to consider the tasks to be performed with reference to the objectives of the services put out to tender (see Chapter 1 Context) (1.1.1). Following this, the tenderer presents and justifies the explicit strategy with which it intends to provide the services for which it is responsible (see Chapter 2 Tasks to be performed) (1.1.2).

The tenderer is required to present the actors relevant for the services for which it is responsible and describe the cooperation (1.2) with them.

The tenderer is required to present and explain its approach to steering the measures with the project partners (1.3.1) and its contribution to the results-based monitoring system (1.3.2).

The tenderer is required to describe the key processes for the services for which it is responsible and create an operational plan or schedule (1.4.1) that describes how the services according to Chapter 2 (Tasks to be performed by the contractor) are to be provided. In particular, the tenderer is required to describe the necessary work steps and, if applicable, take account of the milestones and contributions of other actors (partner contributions) in accordance with Chapter 2 (Tasks to be performed) (1.4.2).

The tenderer is required to describe its contribution to knowledge management for the partner (1.5.1) and GIZ and to promote scaling-up effects (1.5.2) under learning and innovation.

## Project management of the contractor (1.6)

The tenderer is required to explain its approach for coordination with the GIZ project. In particular, the project management requirements specified in Chapter 2 (Tasks to be performed by the contractor) must be explained in detail.

The tenderer is required to draw up a personnel assignment plan with explanatory notes that lists all the experts proposed in the tender; the plan includes information on assignment dates (duration and expert months) and locations of the individual members of the team complete with the allocation of work steps as set out in the schedule.

- Personnel concept (proposed staff)

The Contractor is required to provide personnel who are suited to filling the positions described, on the basis of their CVs (see Chapter 10), the range of tasks involved and the required qualifications.

The personnel must be provided for all positions, otherwise, the bid will be disqualified. Each expert can hold only one position; multiple position holding is not permitted.

The below specified qualifications represent the requirements to reach the maximum number of points in the technical assessment.

## Team leader: Emergency Energy & Infrastructure Planning Expert

Tasks of the team leader

- overall responsibility for the advisory packages of the contractor (quality and deadlines);

- coordinating and ensuring communication with GIZ, partners and others involved in the project;

- personnel management, in particular identifying the need for short-term assignments within the available budget, as well as planning and steering assignments and supporting local and international short-term experts;

- regular reporting in accordance with deadlines;

- collection and analysis of existing emergency response plans, civil protection plans, procedures for actions in emergency situations, and other relevant documents of municipalities and WSS utilities;

- analysis of the existing coordination mechanisms with DSNS;

- assessment of existing technical, organizational, and operational capacities and identification of gaps in service continuity arrangements;

- carrying out the risk assessment for the justification and prioritization of the proposed measures;

- development of the programme of measures aimed at increasing the resilience of WSS systems during military actions, including the indicative cost estimate, the sequence of implementation of works, and possible sources of financing;

- preparation of the detailed recommendations on the development of emergency action plans (without indicating any restricted-access data);

- conducting consultations related to the draft programme of measures and the draft recommendations;

- presentation and discussion of draft documents and proposed measures;

- incorporation of comments and recommendations provided by stakeholders;

- revision and finalization of the programme of measures and of the recommendations;

- preparation of concise practical recommendations and guidance for users of the deliverables;

- submission of the final package of documents to the Contracting Authority in electronic format.

Qualifications of the team leader

- Education (2.1.1.): university degree (Master’s or equivalent) in electrical engineering / power engineering, energy systems / energy management, civil engineering (with focus on infrastructure resilience) or environmental engineering or related technical discipline.

- Language (2.1.2): B2-level language proficiency in English

- General professional experience (2.1.3.): 7 years of professional experience in infrastructure planning, energy systems, or critical infrastructure resilience.

- Specific professional experience (2.1.4.): 3 years of experience in emergency preparedness, contingency planning, or crisis response planning for critical infrastructure.

- Leadership/management experience (2.1.5): 2 years of management/leadership experience as project team leader or manager in a company.

- Regional experience (2.1.6): 5 years of professional experience in Ukraine.

## Key expert 1: Water Supply & Critical Infrastructure Resilience Technical Expert

Tasks of key expert 1

- carrying out the risk assessment for critical WSS infrastructure for the justification of the proposed measures;

- assessment of the dependency of WSS facilities on electricity supply, load inventory and prioritization, and assessment of existing power supply gaps;

- preliminary assessment of the areas expected to be affected by the shutdown (destruction) of individual pumping stations (where necessary and subject to the availability of data);

- preparation of recommendations on backup power supply and alternative solutions to maintain the functionality of WSS infrastructure;

- development of the geospatial tools (QGIS scripts) and of the related user guidance;

- conducting the practical training session for the beneficiaries’ personnel on the use of the geospatial tools during the workshop.

Qualifications of key expert 1

- Education (2.2.1): university degree (Master’s or equivalent) in WSS engineering, environmental engineering, civil engineering, energy systems or infrastructure management (with WSS focus).

- Language (2.2.2): B2-level language proficiency in English

- General professional experience (2.2.3): 7 years of professional experience in water supply and/or wastewater infrastructure systems.

- Specific professional experience (2.2.4): 3 years of experience in operational planning, infrastructure assessment, or utility management.

- Regional experience (2.2.6): 5 years of professional experience in Ukraine.

Soft skills of team members

In addition to their specialist qualifications, the following qualifications are required of team members:

- Team skills

- Initiative

- Communication skills

- Socio-cultural skills

- Efficient, partner- and client-focused working methods

- Interdisciplinary thinking

# Costing requirements

## Assignment of personnel and travel expenses – Not applicable

Specification of inputs

contracts for works:

The following basic calculations for the contract for works are a reference value based on the acceptance criteria for each partial work/milestone specified in Chapter 2 (Tasks to be performed by the contractor).

Since the contract to be concluded is a contract for works, we would ask you to offer your services at a lump sum price.

| Milestones/partial works | Estimated expert days for orientation | Anticipated deadline/place/person responsible |
| --- | --- | --- |
| WP 1. Analysis of Existing Documentation, Risk Assessment and Infrastructure Assessment | Team leader – 10 Key expert 1 – 10 | By 1st of October 2026 / Kyiv / Contractor |
| WP 2. Development of the Draft Programme of Resilience Measures and of the Draft Recommendations on Emergency Planning | Team leader – 20 Key expert 1 – 20 | By 1st of November 2026 / Kyiv / Contractor |
| WP 3. Consultations and Workshop | Team leader – 10 Key expert 1 – 10 | By 1st of December 2026 / Kyiv / Contractor |
| WP 4. Preparation of Final Documents | Team leader – 12 Key expert 1 – 10 | By 1st of January 2027 / Kyiv / Contractor |

# Inputs of GIZ or other actors – Not applicable

- Financial provisions

  - Contract value

The contract value shall be calculated according to the format of the financial bid (price schedule).

  - Financial bid (price schedule)

The total cost of the Contract is set in UAH, including all direct and related expenses, taxes and fees, incl. VAT if applicable

All costs connected to the contract implementation, e.g. connected management staff, should be covered according to the received amount of the total value of the Contract. No additional budget lines are allowed.

  - Payment Conditions

The Contractor shall be paid 100% post payment upon performance for each Work Package on monthly basis.

All the payments shall be done exclusively in the national currency of Ukraine (UAH) by means of a bank transfer to the bank account of the Contractor;

- All the activities shall be done exclusively within the timeframe of the Contract;

- All the payments shall be done exclusively for the actually performed works/services (“up to”), on the ground of original invoices, acts of acceptance, service entry sheet (LERF), submitted in original form within 15 working days after their submission by the Contractor and acceptance by GIZ. The invoice is considered not accepted for payment in case of errors and/or provision of an incomplete package of documents for payment

  - Requirements to the submission of the financial reporting documents

- Originals of Invoices, acts of acceptance, service entry sheet (LERF), etc. shall be submitted to the address of the GIZ Project together with the technical documents (reporting/ deliverables) and other financial supporting documents as and if stipulated by the Contract. If the prices in the contract are specified in foreign currency, the Contractor is obliged to indicate prices in all invoices and/or acts of acceptance in two currencies: in foreign currency and in the equivalent amount in UAH and to indicate applied currency exchange rate in accordance with Contract conditions.

- Each invoice and act of acceptance shall contain the Project Number, contract number

- By submitting the Invoice the Contractor should indicate (in the invoice) whether the Contractor is a Single Tax Payer (e.g. 5%, 2%) or a VAT Payer (20%);

Act of acceptance for completed works /services standard template can be found here: https://www.giz.de/sites/default/files/media/els-document/2026-03/act-service-acceptance-final_0.doc

- Other Provisions

  - General

The Contract will be signed by the Parties in original form. Each Party agrees to provide the other Party with the original signed Contract and annexes. In this case, the Party that sent the Contract is responsible for the authenticity of the signatures of its authorized representatives and imprint of seal (if any).

The implementation of activities under present Contract can be started only after the Contact enters in force.

At the same time, the Period of Assignment, during which the Contractor is anticipated to work in order to perform the Contract, is defined by the Article 3 of this Contract.

Implementation of any activities under the present Contract /Supplement to this Contract (if any) can be started only after the Contact/Supplement (if any) enters in force and must take place only during the Period of Assignment.

Costs that are incurred outside the Period of Assignment are not eligible.

With signing of this contract, the parties are fully aware of the respective GIZ provisions, namely General terms and conditions of contract for supplying services and work on behalf of the Deutsche Gesellschaft fur Internationale Zusammenarbeit GmbH in Ukraine, Code of Conduct for Contractors of the Deutsche Gesellschaft für Internationale Zusammenarbeit (GIZ) GmbH published on the link Ukraine Tenders | GIZ (section “Terms of procurement of services”/ секція “Умови закупівель послуг”) and such provisions shall be binding on the parties as if stated in full in this agreement.

On the date of signing this Contract, the Contactor confirms that in accordance with the Tax Code of Ukraine, the Contractor is/is not (shall be specified at the time of contract preparation by the procurement unit responsible for contract preparation) a payer of value added tax under general conditions.

In case if on the date of Contract signing the Contractor is not registered as a VAT payer and during execution of the Contract the Contractor becomes registered as a VAT payer, and the given procurement of services/ works upon the Contract shall not be determined free from VAT, the cost of the Contract remains unchanged and is to be considered with VAT.

The Contractor shall be responsible for all taxes and other payments according to the Ukrainian law. Taxes, levies or fees to the Government of Ukraine shall be paid by the Contractor.

Contact person from GIZ side responsible for contract implementation and communication with the Contractor is _______ (shall be specified at the time of contract preparation by the procurement unit responsible for contract preparation)

The Contractor shall be solely responsible for all the security issues according to the own security concept during the implementation of the Contract. GIZ shall not be reliable and/or responsible for any damages and/or injuries occurred during the implementation of the Contract by any Person directly or indirectly involved into the implementation of the Contract and/or by any other third Person.

The Contractor is obliged to provide the originals of documents indicated in the special agreement at his own expense.

Additionally, the Contractor must:

- be a registered legal entity/private entrepreneur in Ukraine;

- not be on the sanctions list of Ukraine, the EU, the UN;

- ensure that the final beneficiaries/participants are not on the sanctions list of Ukraine, the EU, the UN;

- not be in the process of termination;

- not be registered on temporary occupied territories of Ukraine;

- not have the ultimate beneficial owner, member or participant (shareholder), having a share in the authorized capital of 10 percent or more, which is the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran, a citizen of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran except for those who live on the territory of Ukraine on legal grounds, or a legal entity created and registered in accordance with the legislation of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran.

GIZ reserves the right to verify the information at any time. The tenderer confirms that he agrees to the processing of personal data in accordance with the provisions of the EU General Data Protection Regulation (GDPR) and the Law of Ukraine "On the Protection of Personal Data" No. 2297-VI dated 01.06.2010.

  - VAT Exemption – Not applicable

# Outsourced processing of personal data – Not applicable

- Requirements to the format of the bid

  - Documents to be submitted

    - Technical bid

Tenderers must provide the following documents:

- a technical bid containing a description of the methodology proposed in relation to the identified tasks. Technical bid must be signed and stamped (if stamp is used)

- tentative work plan;

- personnel (team) concept

- CVs of all experts with relevant work experience, qualifications (education)

The structure of the technical bid must correspond to the structure of the ToRs. In particular, the detailed structure of the concept (Chapter 3) should be organised in accordance with the positively weighted criteria in the assessment grid (not with zero). The technical bid must be legible (font size 11 or larger) and clearly formulated. It must be drawn up in English (language).

The complete technical bid must not exceed 10 pages (excluding CVs). If one of the maximum page lengths is exceeded, the content appearing after the cut-off point will not be included in the assessment. External content (e.g. links to websites) will also not be considered.

The CVs of the personnel proposed in accordance with Chapter 4 of the ToRs must be submitted using the format specified in the terms and conditions for application (if such format of CV is set). The CVs shall not exceed 4 pages each. They must clearly show the position and job the proposed person held in the reference project and for how long. The CVs must be drawn up in English (language).

The technical bid must not include any financial information such as daily fees for experts or any other payments. Otherwise, the bid will be disqualified.

    - Financial bid (Price schedule)

The financial bid must include the costs associated with the implementation of the assignment and must be provided according to the format provided in the tender documentation.

Financial bid (price schedule) must be signed and stamped (if stamp is used).

    - Registration documents of the tenderer

Shall be provided according to the requirements of tender documentation.

The tenderer must:

- be a registered legal entity/private entrepreneur in Ukraine;

- not be on the sanctions list of Ukraine, the EU, the UN;

- ensure that the final beneficiaries/participants are not on the sanctions list of Ukraine, the EU, the UN;

- not be in the process of termination;

- not be registered on temporary occupied territories of Ukraine;

- not have the ultimate beneficial owner, member or participant (shareholder), having a share in the authorized capital of 10 percent or more, which is the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran, a citizen of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran except for those who live on the territory of Ukraine on legal grounds, or a legal entity created and registered in accordance with the legislation of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran.

GIZ reserves the right to verify the information at any time. The tenderer confirms that he agrees to the processing of personal data in accordance with the provisions of the EU General Data Protection Regulation (GDPR) and the Law of Ukraine "On the Protection of Personal Data" No. 2297-VI dated 01.06.2010.